## Sheet1
Section | Measure | Phase | Approved | Description | Applicable To | Review cycle | NERC Monitor |  |  |  |  | Comments
[7 empty] | 99 | 00 | 01 | 02 | 03
Guiding Principles : | 1) Generally consider only NERC Board approved measurements except as noted in items # 5 & 7
2) Annually NERC monitor measurements fundamental to planning - I.A.M1, 2 & 3 and I.B.M1 & 2
3) Monitor every measurement at least once every three years
4) I.E Measurements will not be NERC monitored until RTO / ISO compliance process / procedure issues are resolved
5) Continue NERC monitor/field test Phase 3 Measurements II.A.M5 & 6 (solved cases) in lieu of several model data measures
6) NERC monitor Measurements with annual review cycles except as noted in item # 5
7) Monitor Phase 3 generator related Measurements III.C.M2 & 4 and IV.A.M1, 2 & 4 to maintain continued participation
8) Annually NERC monitor event driven measurements - III.D.M4
9) All entities, including Regions, still non-compliant for any approved measurement as of 12/31/2002 will be monitored and/or have follow-up on mitigation plan(s) for such measurement in 2003.
I. System Adequacy & Security. A. Transmission Systems | M1 | I | 2001-06-12 | System performance under normal conditions | ERRIS | Annual | X | X | X | X | Y | Principle 2 (fundamental to planning)
" " " | M2 | I | " | System performance under single contingency | ERRIS | " | X | X | X | X | Y | " " " "
" " " | M3 | 2 | 2002-02-20 | System performance under multiple contingencies | ERRIS | " | - | X | - | - | Y | " " " "
" " " | M4 | 2 | 2001-10-16 | System performance under extreme contingencies | ERRIS | " | - | X | - | X | N | Principle 3 (wait for three year cycle)
I. System Adequacy & Security. B. Reliability Assessment | M1 | 1 | 2001-06-12 | SELF-ASSESSMENT of regional & interregional reliability | Region | Annual | X | X | X | - | Y | Principle 2 (fundamental to planning)
" " " | M2 | 1 | " | Regional DATA needed to assess reliability | Region | " | X | X | X | - | Y | " " " "
I. System Adequacy & Security. C. Facilities Connection | M1 | I | 2001-06-12 | Facilities connection REQUIREMENTS | T-own / provider | As needed | X | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M2 | 2 | 2001-10-16 | COORDINATE plans for new facilities | ERRIS | " | - | X | - | - | Y | Principle 3 (every three years)
I. System Adequacy & Security. E.1. TTC/ATC Transfer Capability | M1 | 2.5 | 2002-02-20 | Regional TTC/ATC METHODOLOGY | Region | As needed | - | - | X | - | N | Principle 4 (implementation issues)
" " " | M3 | 2.5 | " | Regional PROCEDURE to assure compliance with regional TTC/ATC method | Region | Annual | - | - | X | - | N | " " " "
" " " | M4 | 2.5 | " | Regional PROCEDURE to collect & consider concerns | Region | As needed | - | - | X | - | N | " " " "
I. System Adequacy & Security. E.2. CBM/TRM Transfer Capability | M1 | 2.5 | 2002-02-20 | Regional CBM METHODOLOGY | Region | As needed | - | - | X | - | N | Principle 4 (implementation issues)
" " " | M3 | 2.5 | " | Regional PROCEDURE / REVIEW to assure compliance to regional CBM methodology | Region | Annual | - | - | X | - | N | " " " "
" " " | M4 | 2.5 | " | DOCUMENT transmission provider procedures for use of CBM | T provider | As needed | - | - | X | - | N | " " " "
" " " | M5 | 2.5 | " | REPORT use of CBM | T provider | " | - | - | X | - | N | " " " "
" " " | M6 | 2.5 | " | Regional TRM METHODOLOGY | Region | As needed | - | - | X | - | N | " " " "
" " " | M8 | 2.5 | " | Regional PROCEDURE / REVIEW to assure compliance to regional TRM methodology | Region | Annual | - | - | X | - | N | " " " "
I. System Adequacy & Security. F. Disturbance Monitoring | M1 | 1 | 2001-06-12 | DOCUMENT / define equipment REQUIREMENTS | Region | As needed | X | X | - | - | Y | Principle 3 (every three years)
II. System Modeling Data Requirements. A. System Data | M1 | 1 | 2001-06-12 | Steady state modeling DATA | System users | Annual | X | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M2 | 1 | " | Reporting REQUIREMENTS / PROCEDURES for steady state modeling | Region | As needed | X | - | - | - | Y | Principle 3 (every three years)
" " " | M3 | 1 | " | Dynamics modeling DATA | System users | Annual | X | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M4 | 1 | " | Reporting REQUIREMENTS / PROCEDURES for dynamics modeling | Region | As needed | X | - | - | - | Y | Principle 3 (every three years)
" " " | M5 | 3 | Revision 10/9/00 | DEVELOP steady state models | Region | As needed | - | - | X | X | Y | Principle 5 (continue field test)
" " " | M6 | 3 | " | DEVELOP dynamics models | Region | As needed | - | - | X | X | Y | " " " "
II. System Modeling Data Requirements. C. Facility Ratings | M1 | 1 | 2001-06-12 | METHODOLOGY for determining facilities electrical ratings | Facilities owners | As needed | X | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M2 | 1 | " | Facility electrical rating DATA for modeling | Facilities owners | Annual | X | X | X | - | N | " " " "
II. System Modeling Data Requirements. D. Actual & Forecast Demands | M1 | 1 | 2001-06-12 | Demand, energy & DSM scope & specificity reporting REQUIREMENTS | ERRIS | As needed | X | X | - | - | Y | Principle 3 (every three years)
" " " | M4 | 1 | " | Aggregated actual & forecast demand & energy DATA | ERRIS | Annual | X | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M6 | 2 | 2001-10-16 | Nonmember demand DATA DOCUMENT how uncertainty for forecasts are addressed | ERRIS | As needed | - | X | - | - | Y | Principle 3 (every three years)
" " " | M10 | 1 | 2001-06-12 | Report interruptible demands & direct load control DATA | ERRIS | Annual | X | X | X | - | Y | Principle 6 (annual review cycle)
" " " | M11 | 2 | 2001-10-16 | INFORM operations of interruptible demands & direct load control | ERRIS | " | - | X | - | - | Y | " " " "
" " " | M12 | 2 | " | DOCUMENT / methodology of effects of controllable DSM | ERRIS | As needed | - | X | - | - | Y | Principle 3 (every three years)
III. System Protection & Control. A. Transmission Protection Systems | M3 | 2 | 2002-02-20 | Regional PROCESS to monitor/notify/analyze trip operations - document misoperations | Region | As needed | - | X | - | - | Y | Principle 3 (every three years)
" " " | M4 | 2 | 2001-10-16 | Document/implement transmission protection system maintenance/testing/monitoring PROGRAM | T / protect owners | " | - | X | - | - | Y | " " " "
" " " | M5 | 2 | 2002-02-20 | Provide trip operation / misoperation information per Regional process | T / protect owners | " | - | X | - | - | Y | " " " "
III. System Protection & Control. C. Generation | M2 | 3 | Revision 10/9/00 | LOG of operation without automatic voltage control mode by gen owner | G own / operator | As needed | - | - | X | - | Y | Principle 7 (participation follow-up)
" " " | M4 | 3 | " | LOG operation not maintaining network voltage schedules | G own / operator | " | - | - | X | - | Y | " " " "
III. System Protection & Control. D. Under Frequency Load Shedding | M1 | 2 | 2001-10-16 | Develop / document Regional UFLS PROGRAM including a program DATABASE and ASSESSMENT | Region | As needed | - | X | X | - | N | Principle 3 (wait for three year cycle)
" " " | M2 | 2 | " | CONSISTENCY of entities with Regional UFLS program, database update | UFLS entity | Annual | - | X | - | X | Y | Principle 6 (annual review cycle)
" " " | M3 | 2 | " | Document/implement UFLS maintenance/testing PROGRAM | UFLS entity | As needed | - | X | - | - | Y | Principle 3 (every three years)
" " " | M4 | 2 | " | Analysis & documentation of UFLS EVENT | UFLS entity | " | - | X | X | X | Y | Principle 8 (event driven)
III. System Protection & Control. F. Special Protection Systems | M1 | 2 | 2001-10-16 | Document / implement Regional SPS review PROCESS | Region | As needed | - | X | - | - | Y | Principle 3 (every three years)
" " " | M2 | 2 | " | SPS DATABASE | Region | " | - | X | - | - | Y | " " " "
" " " | M3 | 2 | " | Review, document & assessment of SPS COMPLIANCE to Stds and effect of failure | Region | " | - | X | - | X | N | Principle 3 (wait for three year cycle)
" " " | M4 | 2 | " | COMPLIANCE review & document new/proposed SPS installations | SPS owners | " | - | X | - | - | Y | Principle 3 (every three years)
" " " | M5 | 2 | " | DOCUMENT/analyze misoperations | SPS owners | " | - | X | - | - | Y | " " " "
" " " | M6 | 2 | " | Document/implement SPS maintenance/testing PROGRAM | SPS owners | " | - | X | - | - | Y | " " " "
IV. System Restoration A. Sys Blackstart Cap. | M1 | 3 | Revision 10/9/00 | Regional blackstart capability PLAN | Region | As needed | - | - | X | - | Y | Principle 7 (participation follow-up)
" " " | M2 | 3 | " | DEMONSTRATE by simulation / testing blackstart unit can perform its function. | Trans operator | " | - | - | X | - | Y | " " " "
" " " | M4 | 3 | " | DOCUMENT blackstart unit test results | Unit owner /operator | Annual | - | - | X | - | Y | Concern - this could cause an annual cost to someone