## Functional Req. Worksheet
LABORATORY INFORMATION SYSTEM FUNCTIONAL REQUIREMENTS
A - Feature is available and installed. B - Feature is available but not yet installed. D - Feature is currently under development (Indicate anticipated date of availability.) N - Feature is not available.
| Functional Description | Feature Availability | Vendor Comments
A. | SYSTEM ARCHITECTURE AND MAINTENANCE
A.1. | Provide a system with client/server architecture that operates in a Windows environment.
A.2. | Provide a system that employs a centralized relational database.
A.3. | Allow the system to operate on both local and wide area networks, linking all practice sites and data bases. Able to move information from one database to another.
A.4. | Allow full system functionality from any workstation within the network.
A.5. | Provide a system that can be expanded easily as our facility grows.
A.6. | How many records can be stored on-line?
A.7. | Provide an operational environment which will ensure the security and integrity of the system and all its data.
A.8. | Provide for redundant storage of all system data files.
A.9. | Provide for redundant processing capabilities to protect against processor failures.
A.10. | Provide a check-point recovery capability to restore data files after a system failure.
A.11. | Please describe your archival process.
A.12. | Please describe any scheduled maintenance procedures.
B. | SECURITY AND AUDITING
B.1. | Provide a multi-level security system to ensure the confidentiality of all patient-related information and to control access to system functions and features.
B.2. | Restrict access to specific areas of the application based on system function to be performed.
B.3. | Restrict access to specific patient records based on specific test performed.
B.4. | Allow password protection at different levels.
B.5. | Allow a user of proper security clearance to modify the database parameters once the system is live, without requiring programming knowledge.
B.6. | Restrict access to configuration tables, profile indexes, etc. to designated lab personnel via security controls.
B.7. | Maintain an automated system log of user sign-on activity.
B.8. | Maintain an audit trail for system entries including user code, date, and time of each system transaction.
C. | INTERFACING
C.1. | Provide operational software or interfaces for the following equipment and/or applications (Please provide a functional description of each interface available):
C.1.1. | Hematology analyzer
C.1.2. | Coagulation analyzer
C.1.3. | Chemistry analyzer
C.1.4. | Immunoassay analyzer
C.1.5. | Urine Strip Reader
C.1.6. | Other laboratory instruments
C.1.7. | Practice Management system
C.1.8. | Billing system
C.1.9. | Electronic Medical Record
C.1.10. | Reference Laboratory
C.2. | Allow analyzer interfaces to operate so that result verification and reporting can be performed simultaneously at multiple workstations.
D. | ORDER ENTRY
D.1. | Allow multiple test ordering for a single patient using a common demographic record.
D.2. | Allow laboratory orders to be entered from an off-site location.
D.3. | Allow the lab to develop and customize orderable items.
D.4. | Allow simple test ordering: Single header linked to a single test result field (e.g. Glucose.)
D.5. | Allow compound test ordering: Single header linked to multiple test result fields (e.g. CBC, Lipid Panel, Comprehensive Metabolic Panel.)
D.6. | Allow the user to order tests by entering test codes and/or by selecting from a test menu.
D.7. | Automatically alert users to previously ordered lab work.
D.8. | Allow the cancellation of orders for patients who do not show for appointment.
D.9. | Provide Medical Necessity validation based on lab-defined valid diagnosis codes for each applicable test.
D.10. | Allow the generation of a Medicare-compliant ABN form when test ordering fails medical necessity validation.
D.11. | Allow entry of four diagnosis codes for each ordered test.
D.12. | Provide automatic testing destination routing as specified in payor's contract.
D.13. | Provide automatic label printing as orders are entered.
D.14. | Allow lab-defined label configuration.
D.15. | Describe the bar code formats your LIS accepts and prints.
D.16. | Provide the specific sample requirements or sample tube types at the time of order entry.
E. | RESULT REVIEW AND REPORTING
E.1. | Allow reporting of numerical results to lab-defined number of significant digits per test.
E.2. | Allow reporting of alpha results: Single word (e.g., positive or negative) and free text (e.g., short phrases or longer paragraph.)
E.3. | Allow automatic calculations based on test results from other fields.
E.4. | Allow attachment of a comment to any test header or test field (e.g., allow free text and pre-defined comments.)
E.5. | Ability to select between reportable and non-reportable comments.
E.6. | Allow the user to accept, reject, or re-run a test.
E.7. | Allow the user to override current test results for a patient.
E.8. | Allow the user to retain over-ridden results.
E.9. | Provide identification of the verifying technologist when reporting results.
E.10. | Provide automatic print reporting capabilities.
E.11. | Provide automatic fax reporting capabilities.
E.12. | Provide the fax recipient with a table of contents for the fax.
E.13. | Provide ability to send patient reports via the Internet.
E.14. | Provide ability to e-mail reports.
E.15. | Automatically maintain a record of reports delivered.
F. | FLAGS AND DATA COMPARISON
F.1. | Allow lab-defined age and sex-related reference ranges for all test results.
F.2. | Allow flagging of test results that fall outside established reference ranges.
F.3. | Highlighting of abnormal results on patient reports does not rely solely on color text.
F.4. | Allow flagging of test results based on failed lab-defined delta check.
F.5. | Please specify any other parameters that may be used to flag test results.
G. | SAMPLE STATUS AND TRACKING
G.1. | Provide the ability to track patient samples throughout the testing process.
G.2. | Provide the identification of the individual who ordered the test, collected the sample, and released the test results, including the date and time of these occurrances so that this information is accessible throughout the process.
G.3. | Allow the identification of an ordered test as pending.
H. | PATIENT RECORDS
H.1. | Maintain patient databases and provide ability to easily generate historical patient reports.
H.2. | Allow patient database search based on:
H.2.1. | Patient name
H.2.2. | Patient account number
H.2.3. | Patient SSN
H.3. | Allow the user to search previous patient results for specific tests and easily view historical results of that test.
H.4. | Allow the user to graph patient results by test to identify possible trends.
H.5. | Allow historical results for multiple tests to be graphed on one normalized graph.
H.6. | Allow the user to easily access archived patient records.
H.7. | Allow the user to review a specific patient's results without paging through the entire list of patient results.
I. | REFERENCE LABORATORIES
I.1. | Allow testing laboratory destination routing based on patient's payor contract.
I.2. | Allow testing laboratory destination routing based on laboratory testing menu.
I.3. | Provide ability to override specified destination for laboratory testing.
I.4. | Differentiate sample type and volume based upon in-house and reference lab requirements.
I.5. | Provide interface to reference laboratory (Please describe functionality of interface.)
I.6. | Provide ability to print lab-defined reference laboratory requisition.
I.7. | Allow manual entry of reference laboratory test results (e.g., non-interfaced reference laboratories.)
J. | QUALITY CONTROL
J.1. | Allow implementation of Westgard QC rules and flags.
J.2. | Allow flagging of out-of-range QC values.
J.3. | Allow entry of corrective action comments.
J.4. | Provide ability to view and print QC graphs (Levey Jennings.)
J.5. | Provide ability to plot multiple levels of control on one graph.
J.6. | Calculate the following QC statistics:
J.6.1. | Cumulative mean.
J.6.2. | Observed mean over a specified date range.
J.6.3. | Standard deviation.
J.6.4. | Coefficient of variation.
J.7. | Provide ability to document QC review.
J.8. | Provide ability to enter comments by QC level.
J.9. | Provide ability to enter comments by QC result.
K. | OUTREACH
K.1. | Provide a web-based outreach solution.
K.2. | Provide a multi-level security system to ensure the confidentiality of all patient-related information and to control access to outreach functions and features.
L. | COMMUNICATION
L.1. | E-mail capability for laboratory personnel.
M. | MICROBIOLOGY
M.1. | Provide an electronic worksheet that allows for paperless microbiology.
M.2. | Allow for ordering of microbiology procedures on the same requisition as general lab procedures.
M.3. | Allow for printing of labels specific to media setup protocols for each microbiology procedure.
M.4. | Provide bidirectional interface to automated microbiology analyzer.
M.5. | Provide ability to alter billing "on the fly" for microbiology procedures performed.
M.6. | Provide ability to create preliminary microbiology reports, independent of general lab procedures on the same order
N. | MANAGEMENT AND ADMINISTRATION
N.1. | Provide ability to create completion reports by date.
N.2. | Provide ability to create billing summary reports by date.
N.3. | Provide ability to create cancelled test reports that include test name and reason for cancellation.
N.4. | Provide ability to create workload reports by date or physician.
N.5. | Provide ability to create turnaround time reports by date.
N.6. | Provide ability to create reports of failed medical necessity checks.
N.7. | Provide ability to create reports of all previous day test results.
N.8. | Provide ability to create abnormal test value reports.
N.9. | Provide ability to create critical test value reports.
N.10. | Provide ability to electronically document supervisory review of all critical values.