## Sheet1
Microarray Labeling Protocol
(revised 1/14/04)
1. cDNA Synthesis (Invitrogen SuperScriptTM Indirect cDNA Labeling System, Catalog # L1014-02) |  |  |  |  | 3. cDNA Precipitation
1) Mix and briefly centrifuge each component before use. |  |  |  |  | 1) Add 10ml 3M NaAc, pH 5.2, to the tube.
2) Add: | Component | Sample |  |  | 2) Add 2ml of 20mg/ml glycogen to the tube and mix.
| Add either test or ref. RNA | 1ml |  |  | 3) Add 300ml 100% ETOH (ice-cold) and incubate the tube @ -20oC for @ least
| Add 20mg total RNA | nml |  |  | 30' or overnight.
| Add Anchored Oligo dT | 2ml |  |  | *Remove DMSO from -20oC and thaw @ RT
| Add pd(N6) | 1ml |  |  | 4) Spin tube @ 14,000g @ 4oC 10-20' and remove ETOH
| dH2O | Vf = 18ml |  |  | 5) Add 250ml ice-cold 75% ETOH and spin tube @ 14,000g for 2'.
3) Incubate @ 70°C for 5', then place on ice for 1'. |  |  |  |  | Remove all ETOH *(final removal w/ p10).
4) Add: | Component | Sample |  |  | 6) Air dry sample for 10'.
| 5X First-Strand buffer | 6µl |  |  | 7) Resuspend sample in 5ml 2X Coupling Buffer.(Make sure pellet is resuspended)
| 0.1 M DTT | 1.5µl |  |  | *Thaw coupling buffer @ RT, vortex thoroughly. Make sure salts are back in solution.
| 10mM dNTP mix | 1.5µl
| RNaseOUT | 1µl
| SuperScript III RT | 2µl | Vf = 30ml |  | 4. Target Labeling
5) Mix gently, spin briefly to collect sample, and incubate @ 46oC for 2 hours. |  |  |  |  | 1) Add 5ml DMSO/Dye solution to tube.
DMSO thawed @ RT, vortex to make sure all in solution.
Add 45ml DMSO to dye tube, vortexed to bring dye into solution.
2. cDNA Cleanup |  |  |  |  | Aliquot remaining dye into small amber tubes, 5ml each.
1) Add 15ml 1N NaOH to hydrolyze the RNA. Mix thoroughly. |  |  |  |  | 2) Mix well (do not spin down) and incubate @ RT in the dark for 1 hour.
2) Incubate @ 70oC for 10'. |  |  |  |  | 3) Add 20ml 3M NaAc, pH 5.2, to the reaction.
3) Add 15µl 1N HCL to neutralize and mix gently. |  |  |  |  | 4) Add 500ml Loading Buffer to cDNA solution and vortex.
4) Add 20ml 3M NaAc, pH 5.2, and mix gently. |  |  |  |  | 5) Load cDNA/buffer solution onto S.N.A.P Column.
5) Add 500ml Loading Buffer plus Isopropanol to neutralize cDNA. Vortex. |  |  |  |  | 6) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru.
6) Load sample onto a S.N.A.P. Column. |  |  |  |  | 7) Add 700ml Wash Buffer to the column.
7) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru. |  |  |  |  | 8) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru.
8) Add 700ml Wash Buffer. |  |  |  |  | 9) Repeat steps 7-8 above, using same collection tube.
9) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru. |  |  |  |  | 10) Centrifuge one more time @ 14,000g @ RT for 1' to remove excess liquid.
10) Repeat steps 8-9 above. |  |  |  |  | 11) Place S.N.A.P Column onto a new amber collection tube.
11) Centrifuge once more @ 14,000g @ RT for 1' to remove excess liquid. |  |  |  |  | 12) Add 50ml DEPC-treated water to S.N.A.P. Column and incubate @ RT for 2'.
12) Place S.N.A.P. Column into a new 1.5-ml tube. |  |  |  |  | 13) Centrifuge @ 14,000g @ RT for 1'.
13) Add 50ml DEPC-treated water to column and incubate @ RT for 2'. |  |  |  |  | 15) Quantitate with Nanodrop (if target is too concentrated, dilute 1:10).
Spin @14,000g @ RT for 1'. |  |  |  |  | 16) Combine equal pmol label together and dry in speed-vac (NO HEAT).
14) Repeat step 13. |  |  |  |  | 17) Store at -20oC until use. Store at -80oC for longer than a couple days.
15) Read Nanodrop. |  |  |  |  | DO NOT USE SAMPLE AFTER 2 WEEKS!
Signing Out Slides
1) Double click on the Array Inventory file located on Wonderland\G\GES Common Files\Inventory\Slide Inventory\Array Inventory.xls
2) Click on the Totals tab to decide which slide batch to take slides from and to verify there are enough slides for the project.
3) Click on the appropriate slide batch tab. Type in the project name, your name, and the date for every slide you sign out.
4) Select the slides just signed out and print that selection only. Save the changes before closing the file.
5) Open the desiccator box with the appropriate slide batch and remove the slides you signed out.
Hybridization Protocol
Oligo |  |  |  | OR | cDNA
Arrays |  |  |  |  | Arrays
Hybridization: Compugen Oligo Arrays |  |  |  |  | Hybridization: cDNA Arrays
PreHybridization |  |  |  |  | Hybridization
1) Fill Coplin jar w/ 50ml Pronto PreHyb Buffer. Preheat for 15' @ 42oC |  |  |  |  | 1) Denature mouse COT1 (20ng/ml) @ 95°C for 3' then ice.
2) Place slides in Coplin jar. |  |  |  |  | 2) Resuspend labeled targets in 48µl of DIG Easy Hyb (@ RT).
3) Incubate @ 42oC for 45'. |  |  |  |  | 3) Add 2ml of 20ng/ml Poly A (40-60nt).
4) Wash slide by dipping 10X in RT MilliQ H2O. |  |  |  |  | 4) Just before adding mixture to slide be sure to add 2ml COT-1 to tube.
5) Blow dry w/ Argon. After slide is dry check for streaks. |  |  |  |  | 5) Incubate in 42oC water bath for 16-20hr.
If streaky then dip another 10X in Milli-Q and blow dry w/Argon.
NOTE: When blowing w/Agron set pressure at 22 and hold slide at barcode
blowing from top of slide down to barcode.
Hybridization
1) Denature mouse COT1 (1mg/ml) @ 95°C for 3' then ice.
2) Resuspend labeled targets in 48µl of Pronto Hyb Buffer
3) Just before adding mixture to slide be sure to add 5ml COT-1 to tube. | [7 empty] | < or = 10 Slides | > 10 Slides
4) Incubate @ 42oC water bath for 16-20hr. |  |  |  |  | Washes |  |  | Vf=250ml | Vf=350ml
[6 empty] | 1X SSC | 20X | 12.5ml | 17.5ml
[5 empty] | #1 | 0.2% SDS | 20% | 2.5ml | 3.5ml
Washes | [6 empty] | dH20 | 235ml | 329ml
1) Make 2 wash #1's. and pre warm at 42oC ~20'. | [5 empty] | 0.1X SSC | 20X | 1.25ml | 1.75ml
Remove cover slips in one wash and place slide in the other wash: agitate for 4' @RT. |  |  |  |  | #2 | 0.2% SDS | 20% | 2.5ml | 3.5ml
2) Wash slide in high-stringency wash buffer (Wash #2): agitating for 4' @RT | [6 empty] | dH20 | 246.25ml | 344.75ml
3) Wash slide in 0.1X SSC (Wash #3), agitating for 4'. |  |  |  |  | #3 | 0.1X SSC | 20X SSC | 1.25ml | 1.75ml
4) Quickly dip(1X) in milli-q H2O, Blow dry w/ argon. | [6 empty] | dH20 | 248.75ml | 348.25ml
Save images in project folder under "Raw Tiffs".
If using TJL printed slides then prefix = JAX.
If using Compugen oligo slides then prefix = CGEN.
ALWAYS use barcode reader when saving images.
ALWAYS save images as 2 colors (not multi-image).

## Sheet2
Microarray Labeling Protocol
1. cDNA Synthesis |  |  |  |  | 3. cDNA Precipitation
1) Mix and briefly centrifuge each component before use. |  |  |  |  | 1) Add 10ml 3M NaAc, pH 5.2, to the tube.
2) Add: | Component | Sample |  |  | 2) Add 2ml of 20mg/ml glycogen to the tube and mix.
| Add 20mg total RNA | nml |  |  | 3) Add 300ml 100% ETOH (ice-cold) and incubate the tube @ -20oC for @ least
| Add Anchored Oligo dT | 2ml |  |  | 30' or overnight.
| Add pd(N6) | 1ml |  |  | *Remove DMSO from -20oC and thaw @ RT.
| Vf | 18ml |  |  | 4) Spin tube @ 14,000g @ 4oC 10-20' and remove ETOH.
3) Incubate @ 70°C for 5', then place on ice for 1'. |  |  |  |  | 5) Add 250ml ice-cold 75% ETOH and spin tube @ 14,000g for 2'.
4) Add: | Component | Sample |  |  | Remove all ETOH *(final removal w/ p10).
| 5X First-Strand buffer | 6µl |  |  | 6) Air dry sample for 10'.
| 0.1 M DTT | 1.5µl |  |  | 7) Resuspend sample in 5ml 2X Coupling Buffer.
| 10mM dNTP mix | 1.5µl |  |  | *Thaw coupling buffer @ RT, vortex thoroughly. Make sure salts are back in solution.
| RNaseOUT | 1µl
| SuperScript III RT | 2µl
| DEPC dH2O | to 30ml
2) Mix gently, spin briefly to collect sample, and incubate @ 46oC for 2 hours. |  |  |  |  | 4. Target Labeling
3) Add 15ml 1N NaOH to hydrolyze the RNA. Mix thoroughly. |  |  |  |  | 1) Add 5ml DMSO/Dye solution to tube.
4) Incubate @ 70oC for 10'. |  |  |  |  | DMSO thawed @ RT, vortex to make sure all in solution.
5) Add 15µl 1N HCL to neutralize and mix gently. |  |  |  |  | Add 45ml DMSO to dye tube, vortexed to bring dye into solution. Aliquot
6) Add 20ml 3M NaAc, pH 5.2, and mix gently. |  |  |  |  | remaining dye into small amber tubes, 5ml each.
2) Mix well (do not spin down) and incubate @ RT in the dark for 1 hour.
3) Add 20ml 3M NaAc, pH 5.2, to the reaction.
2. cDNA Cleanup |  |  |  |  | 4) Add 500ml Loading Buffer to cDNA solution.
1) Add 500ml Loading Buffer plus Isopropanol to neutralize cDNA. Vortex. |  |  |  |  | 5) Load cDNA/buffer solution onto S.N.A.P Column.
2) Load sample onto a S.N.A.P. Column. |  |  |  |  | 6) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru.
3) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru. |  |  |  |  | 7) Add 700ml Wash Buffer to the column.
4) Add 700ml Wash Buffer. |  |  |  |  | 8) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru.
5) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru. |  |  |  |  | 9) Repeat steps 7-8 above, using same collection tube.
6) Repeat step 4-5 above. |  |  |  |  | 10) Centrifuge one more time @ 14,000g @ RT for 1' to remove excess liquid.
7) Centrifuge once more @ 14,000g @ RT for 1' to remove excess liquid. |  |  |  |  | 11) Place S.N.A.P Column onto a new amber collection tube.
8) Place S.N.A.P. Column into a new 1.5-ml tube. |  |  |  |  | 12) Add 50ml DEPC-treated water to S.N.A.P. Column and incubate @ RT for 2'.
9) Add 50ml DEPC-treated water to column and incubate @ RT for 2'. |  |  |  |  | 13) Centrifuge @ 14,000g @ RT for 1'.
Spin @14,000g @ RT for 1'. |  |  |  |  | 15) Quantitate with Nanodrop and print records for file.
10) Repeat step 9. |  |  |  |  | 16) Combine equal pmol label together and dry in speed-vac (NO HEAT).
11) Read Nanodrop. |  |  |  |  | 17) Store at -20oC until use. Store at -80oC for longer than a couple days.
DO NOT USE SAMPLE AFTER 2 WEEKS!
Microarray Labeling Protocol
Hybridization (1) |  |  |  |  | Hybridization (2)
Prehybridization |  |  |  |  | Hybridization
1) Place slide in Coplin jar, fill w/prehyb buffer: |  |  |  |  | 1) Resuspend labeled targets in 48µl of 1x buffer:
| 5X SSC | 20XSSC | 12.5ml |  |  | 50% formamide |  | 500µl
| 0.1% SDS | 20% SDS | 250µl |  |  | 5X SSC | 20XSSC | 250µl
| 1% BSA | *10% BSA | 5ml |  |  | 0.1% SDS | 20% SDS | 5µl
|  | H2O | 32.25ml |  |  |  | H2O | 245µl
Incubate @ 42oC for 45'. |  |  |  |  | And 2ml of 20ng/ml Poly A (40-60 nt).
2) Wash slide by dipping 10X in RT MilliQ H2O. |  |  |  |  | 2) Denature mouse COT1 (20ng/ml) @ 95°C for 3' then ice.
Blow dry w/ Argon. |  |  |  |  | 3) Lay out slide in chambers.
Dip slide another 10X in RT Milli-Q H2O. |  |  |  |  | 4) Blow lifter slips clean with canned air and place on top of slides.
Blow dry w/ Argon. |  |  |  |  | 5) Just before adding mixture to slide be sure to add 2ml COT-1 to tube.
Blow on slide to check for residue. |  |  |  |  | 6) Apply approx. half of labeled cDNA to each side of coverslip.
If streaky then dip another 10X in Milli-Q and blow dry w/Argon. |  |  |  |  | 7) Add approx. 20ml water to each reservior in chamber.
8) Slide number is recorded on cDNA sheet by another person.
NOTE: When blowing w/Agron set pressure at 22 and hold slide at barcode blowing |  |  |  |  | Slide chamber is assembled and placed in 42oC water bath 16-20hr.
from top of slide down to barcode.
Hybridization (3)
1) Make 2 wash #1's. and pre warm at 42oC ~20'.
Remove cover slips in one wash, place slide in the other wash |  |  |  | Washes | Vf=250
solution and agitate for 4' @ RT. |  |  | 1X SSC | 20X | 12.5ml
|  |  | 0.2% SDS | 20% | 2.5ml
2) Wash slide in high-stringency wash buffer: agitating for 4' @ |  |  |  | dH20 | 235ml
RT.
|  |  | 0.1X SSC | 20X | 1.25ml
|  |  | 0.2% SDS | 20% | 2.5ml
|  |  |  | dH20 | 246.25ml
3) Wash slide in 0.1X SSC, agitating for 4'.
Save images in project folder under "Raw Tiffs".
4) Quickly dip(1X) in milli-q H2O, Blow dry w/ argon. |  |  |  | 20X SSC | 1.25ml | If using Ontario slide prefix slide# w/ ONT.
|  |  |  | dH20 | 248.75ml | If using TJL printed slides then prefix = JAX.
5) On Axon set laser power to 33% for both channels | [5 empty] | If using Compugen oligo slides then prefix = CGEN.
Set 635 PMT to 700
Set 532 PMT to 550 | [5 empty] | ALWAYS use barcode reader when saving images.
Prescan and get image to ratio of 1 on histogram by adjusting on the fly. Once ratio is obtained, turn both channels down 2 units and perform 10 micron scan. | [5 empty] | ALWAYS save images as 2 colors (not multi-image).
2003-06-02

## Sheet3
Target Labeling (1) |  |  |  |  | Target Labeling (2)
First Strand cDNA synthesis |  |  |  |  | 1) Add:
[5 empty] | Component |  | Sample
1) Mix and briefly centrifuge each component before use. |  |  |  |  | 5X First-Strand buffer |  | 6µl
[5 empty] | 0.1 M DTT |  | 1.5µl
2) Add: |  |  |  |  | 10mM dNTP mix |  | 1.5µl
Component |  | Sample |  |  | RNaseOUT |  | 1µl
Add 20ug total RNA |  | nul |  |  | SuperScript III RT |  | 2µl
Add Anchored Oligo dT |  | 2ul |  |  | DEPC dH2O |  | to 30ml
Add pd(N6) |  | 1ul
Vf |  | 18ul |  |  | 2) Mix and incubate @ 46oC for 2 hours
3) Mix well and incubate @ 70°C for 5', then place on ice for 1' |  |  |  |  | 3) Add 15ml 1N NaOH to hydrolyze the RNA
Target Labeling (3) |  |  |  |  | 4) Incubate @ 70oC for 10'
Cleanup using S.N.A.P. Columns
5) Add 15µl 1N HCL to neutralize and mix gently
1) Add 500ml Loading Buffer plus Isopropanol to neutralize cDNA. Vortex.
6) Add 20ml 3M NaAc, pH 5.2, and mix gently
2) Load sample onto a S.N.A.P. Column |  |  |  |  | Target Labeling (4)
Secondary Coupling and Cleanup
3) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru |  |  |  |  | 1) Add 5ml DMSO/Dye solution (DMSO thawed @ RT, vortex to make sure all in solution) (Add 45ml DMSO to dye tube, vortexed to bring dye into solution) (aliquoted remaining into small amber tubes, 5ml each)
4) Add 700ml Wash Buffer
5) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru |  |  |  |  | 2) Mix well and incubate @ RT in the dark for 1 hour (actually 1:20')
6) Repeat step 4-5 above |  |  |  |  | 3) Add 20ml 3M NaAc, pH 5.2, to the reaction
7) Centrifuge once more @ 14,000g @ RT for 1' and discard flow-thru |  |  |  |  | 4) Add 500ml Loading Buffer to cDNA solution
8) Spin 1' to remove excess liquid |  |  |  |  | 5) Load cDNA/buffer solution onto S.N.A.P Column
9) Place S.N.A.P. Column into a new 1.5-ml tube |  |  |  |  | 6) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru
10) Add 50ml DEPC-treated water to column and incubate @ RT for 1'. Spin @14,000g @ RT for 2'. |  |  |  |  | 7) Add 700ml Wash Buffer to the column
8) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru
11) Repeat step 10
9) Repeat steps 7-8 above, using same collection tube
12) Add 10ml 3M NaAc, pH 5.2, to the tube
10) Centrifuge one more time @ 14,000g @ RT for 1'
13) Add 2ml of 20mg/ml glycogen to the tube and mix
11) Place S.N.A.P Column onto a new amber collection tube
14) Add 300ml 100% ETOH (ice-cold) and incubate the tube @ -20oC for @ least 30' or overnight
12) Add 50ml DEPC-treated water to S.N.A.P. Column and incubate @ RT for 2'
*Remove DMSO from -20oC and thaw @ RT |  |  |  |  | 13) Centrifuge @ 14,000g @ RT for 1'
15) Spin tube @ 14,000g @ 4oC 10-20 minutes and remove ETOH |  |  |  |  | 14) Add 1ml of 1M Tris-HCl (pH 8.3) to the 100ml labeled cDNA
15) Quantitate with Nanodrop and print records for file
*Thaw coupling buffer @ RT, vortex thoroughly
16) Combine equal pmol label together and dry in speed-vac (NO HEAT).
16) Add 250ml ice-cold 75% ETOH and spin tube @ 14,000g for 2'. Remove all ETOH *(final removal w/ p10)
17) Store at -20C until use. Store at -80C for longer than a couple days.
17) Air dry sample for 10' |  |  |  |  | DO NOT USE SAMPLE AFTER 2 WEEKS!
**Dye + 45µl Invitrogen DMSO, aliquot in 5.0µl increments
18) Resuspend sample in 5ml 2X Coupling Buffer
Hybridization (1) |  |  |  |  | Hybridization (2)
Prehybridization |  |  |  |  | Hybridization
1) Place slide in Coplin jar, fill w/prehyb buffer: |  |  |  |  | 1) Resuspend labeled targets in 48µl of 1x buffer:
| 5X SSC | 20XSSC | 12.5ML |  | 50% formamide |  | 500µl
| 0.1% SDS | 20% SDS | 250µl |  | 5X SSC | 20XSSC | 250µl
| 1% BSA | *10% BSA | 5ML |  | 0.1% SDS | 20% SDS | 5µl
|  | H2O | 32.25ML |  |  | H2O | 245µl
incubate @ 42C for 45 minutes |  |  |  |  | And 2uL of 20ng/uL Poly A (40-60 nt)
2) Wash slide by dipping 10X in RT MilliQ H2O |  |  |  |  | 2) Denature mouse COT1 (20ng/uL) @95°C for 3 min.then ice.
Blow dry w/ Argon
Dip slide another 10X in RT Milli-Q H2O |  |  |  |  | 3) Lay out slide in chambers
Blow dry w/ Argon
Blow on slide to check for residue |  |  |  |  | 4) Blow lifter slips clean with canned air and place on top of slides
If streaky then dip another 10X in Milli-Q and blow dry w/Argon
5)Just before adding mixture to slide be sure to add 2uL COT-1 to tube
NOTE: When blowing w/Agron set pressure at 22 and
hold slide at barcode blowing from top of slide down to barcode |  |  |  |  | 6) Apply approx. half of labeled cDNA to each side of coverslip
7) Add approx. 20uL water to each reservior in chamber
8) Slide number is recorded on cDNA sheet by another person.
Slide chamber is assembled and placed in 42C water bath 16-20hr.
Hybridization (3)
1) Make 2 wash #1's. and pre warm at 42 ~20 min. |  |  |  | Washes | Vf=250
Remove cover slips in one wash, place slide in the other
|  |  | 1X SSC | dH20 | 235ml
|  |  | 0.2% SDS | 20X | 12.5ml
|  |  |  | 20% | 2.5ml
2) Wash slide in high-stringency wash buffer:
|  |  | 0.1X SSC | dH20 | 246.25ml
|  |  | 0.2% SDS | 20X | 1.25ml
agitating for 4 min. @ RT |  |  |  | 20% | 2.5ml
3) Wash slide in 0.1X SSC, agitating for 4 min.
|  |  |  | dH20 | 248.75ml
4) Quickly dip(1X) in milli-q H2O, Blow dry w/ argon |  |  |  | 20X SSC | 1.25ml

## Sheet4
Microarray Labeling Protocol
Target Labeling (1) |  |  |  |  | Target Labeling (2)
First Strand cDNA synthesis |  |  |  |  | 1) Add: | Component | Sample
1) Mix and briefly centrifuge each component before use. | [5 empty] | 5X First-Strand buffer | 6µl
2) Add: | Component | Sample |  |  |  | 0.1 M DTT | 1.5µl
| Add 20ug total RNA | nml |  |  |  | 10mM dNTP mix | 1.5µl
| Add Anchored Oligo dT | 2ml |  |  |  | RNaseOUT | 1µl
| Add pd(N6) | 1ml |  |  |  | SuperScript III RT | 2µl
| Vf | 18ml |  |  |  | DEPC dH2O | to 30ml
3) Incubate @ 70°C for 5', then place on ice for 1' |  |  |  |  | 2) Mix gently, spin briefly to collect sample, and incubate @ 46oC for 2 hours
Target Labeling (3) |  |  |  |  | 3) Add 15ml 1N NaOH to hydrolyze the RNA. Mix thoroughly.
Cleanup using S.N.A.P. Columns |  |  |  |  | 4) Incubate @ 70oC for 10'
1) Add 500ml Loading Buffer plus Isopropanol to neutralize cDNA. Vortex. |  |  |  |  | 5) Add 15µl 1N HCL to neutralize and mix gently
2) Load sample onto a S.N.A.P. Column |  |  |  |  | 6) Add 20ml 3M NaAc, pH 5.2, and mix gently
3) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru
4) Add 700ml Wash Buffer |  |  |  |  | Target Labeling (4)
5) Centrifuge @ 14,000g @ RT for 1' and discard flow-thru |  |  |  |  | Secondary Coupling and Cleanup
6) Repeat step 4-5 above |  |  |  |  | 1) Add 5ml DMSO/Dye solution to tube (DMSO thawed @ RT, vortex to make sure all in solution) (Add 45ml DMSO to dye tube, vortexed to bring dye into solution) (aliquoted remaining into small amber tubes, 5ml each)
7) Centrifuge once more @ 14,000g @ RT for 1' and discard flow-thru
8) Spin 1' to remove excess liquid
9) Place S.N.A.P. Column into a new 1.5-ml tube |  |  |  |  | 2) Mix well and incubate @ RT in the dark for 1 hour (actually 1:20')
10) Add 50ml DEPC-treated water to column and incubate @ RT for 1'. Spin @14,000g @ RT for 2'. |  |  |  |  | 3) Add 20ml 3M NaAc, pH 5.2, to the reaction
4) Add 500ml Loading Buffer to cDNA solution
11) Repeat step 10 |  |  |  |  | 5) Load cDNA/buffer solution onto S.N.A.P Column
12) Add 10ml 3M NaAc, pH 5.2, to the tube |  |  |  |  | 6) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru
13) Add 2ml of 20mg/ml glycogen to the tube and mix |  |  |  |  | 7) Add 700ml Wash Buffer to the column
14) Add 300ml 100% ETOH (ice-cold) and incubate the tube @ -20oC for @ least 30' or overnight |  |  |  |  | 8) Centrifuge @ 14,000g @ RT for 1'. Discard the flow-thru
9) Repeat steps 7-8 above, using same collection tube
*Remove DMSO from -20oC and thaw @ RT |  |  |  |  | 10) Centrifuge one more time @ 14,000g @ RT for 1'
15) Spin tube @ 14,000g @ 4oC 10-20' and remove ETOH |  |  |  |  | 11) Place S.N.A.P Column onto a new amber collection tube
*Thaw coupling buffer @ RT, vortex thoroughly |  |  |  |  | 12) Add 50ml DEPC-treated water to S.N.A.P. Column and incubate @ RT for 2'
16) Add 250ml ice-cold 75% ETOH and spin tube @ 14,000g for 2'. Remove all ETOH *(final removal w/ p10) |  |  |  |  | 13) Centrifuge @ 14,000g @ RT for 1'
14) Add 1ml of 1M Tris-HCl (pH 8.3) to the 100ml labeled cDNA
17) Air dry sample for 10' |  |  |  |  | 15) Quantitate with Nanodrop and print records for file
18) Resuspend sample in 5ml 2X Coupling Buffer |  |  |  |  | 16) Combine equal pmol label together and dry in speed-vac (NO HEAT).
17) Store at -20oC until use. Store at -80oC for longer than a couple days.
DO NOT USE SAMPLE AFTER 2 WEEKS!
**Dye + 45µl Invitrogen DMSO, aliquot in 5.0µl increments
Microarray Labeling Protocol
Hybridization (1) | [5 empty] | Hybridization (2)
Prehybridization | [5 empty] | Hybridization
1) Place slide in Coplin jar, fill w/prehyb buffer: | [5 empty] | 1) Resuspend labeled targets in 48µl of 1x buffer:
5X SSC | 20XSSC | 12.5ml |  |  |  | 50% formamide |  | 500µl
0.1% SDS | 20% SDS | 250µl |  |  |  | 5X SSC | 20XSSC | 250µl
1% BSA | *10% BSA | 5ml |  |  |  | 0.1% SDS | 20% SDS | 5µl
| H2O | 32.25ml |  |  |  |  | H2O | 245µl
Incubate @ 42oC for 45' | [5 empty] | And 2ml of 20ng/ml Poly A (40-60 nt)
2) Wash slide by dipping 10X in RT MilliQ H2O | [5 empty] | 2) Denature mouse COT1 (20ng/ml) @ 95°C for 3' then ice.
Blow dry w/ Argon | [5 empty] | 3) Lay out slide in chambers
Dip slide another 10X in RT Milli-Q H2O | [5 empty] | 4) Blow lifter slips clean with canned air and place on top of slides
Blow dry w/ Argon | [5 empty] | 5) Just before adding mixture to slide be sure to add 2ml COT-1 to tube
Blow on slide to check for residue | [5 empty] | 6) Apply approx. half of labeled cDNA to each side of coverslip
If streaky then dip another 10X in Milli-Q and blow dry w/Argon | [5 empty] | 7) Add approx. 20ml water to each reservior in chamber
8) Slide number is recorded on cDNA sheet by another person.
NOTE: When blowing w/Agron set pressure at 22 and hold slide at barcode blowing from top of slide down to barcode | [5 empty] | Slide chamber is assembled and placed in 42oC water bath 16-20hr.
Hybridization (3)
1) Make 2 wash #1's. and pre warm at 42oC ~20'
Remove cover slips in one wash, place slide in the other wash solution and agitate for 4' @ RT |  |  |  | Washes | Vf=250
|  |  | 1X SSC | 20X | 12.5ml
|  |  | 0.2% SDS | 20% | 2.5ml
2) Wash slide in high-stringency wash buffer: agitating for 4' @ RT |  |  |  | dH20 | 235ml
|  |  | 0.1X SSC | 20X | 1.25ml
|  |  | 0.2% SDS | 20% | 2.5ml
|  |  |  | dH20 | 246.25ml
3) Wash slide in 0.1X SSC, agitating for 4'
Save images in project folder under "Raw Tiffs"
4) Quickly dip(1X) in milli-q H2O, Blow dry w/ argon |  |  |  | 20X SSC | 1.25ml | If using Ontario slide prefix slide# w/ ONT
|  |  |  | dH20 | 248.75ml | If using TJL printed slides then prefix = JAX
5) On Axon set laser power to 33% for both channels | [5 empty] | If using Compugen oligo slides then prefix = CGEN
Set 635 PMT to 700
Set 532 PMT to 550 | [5 empty] | ALWAYS use barcode reader when saving images
Prescan and get image to ratio of 1 on histogram by adjusting on the fly. Once ratio is obtained, turn both channels down 2 units and perform 10 micron scan | [5 empty] | ALWAYS save images as 2 colors (not multi-image)
2003-05-28