## Column Headings
Column Headings:
A | Original Number - The number originally assigned the seam issue. Used to track each issue as it was categorized and re-categorized.
B | Category - Seam issues are grouped into one of 8 categories:
1. Congestion Management
2. Market Design
3. Market Monitoring / Compliance
4. Market Standards
5. Planning
6. System Reliability
7. Transaction Scheduling
8. Transmission Service
C | 1st Sub-Category - The seam issues categories are further delineated into 1st sub-categories.
D | 2nd Sub-Category - The seam issue 1st sub-categories are even further delineated into 2nd sub-categories.
E | Description Of Seam Issue - Brief description of the seams issue.
F | Comments - Additional comments providing background or further definition of the seam issue.
G | Association / Notes - Identification of associated seam issues based on their Original Number.
H | Seam Interface Type - Each seam interface has 2 acting parties. Here the market status relationship between the 2 acting parties are identified, e.g., RTO Market to RTO Market, RTO Market to Non-RTO Market, Non-RTO Market to Non-RTO Market.
I | Region 1 - The RTO, ISO, or Non-RTO Market Region that is the 1st acting party to the seam issue is identified here.
J | Region 2 - The RTO, ISO, or Non-RTO Market Region that is the 2nd acting party to the seam issue is identified here.
K | Seam Impediment Type - Identification of what causes the seam issue, e.g., market rule, business practice, physical barrier.
L | Currently Being Addressed - Identification of another body that is currently working on the seam issue.
M | Submitter - The name of the person and organization providing the matrix information.
N | Reference Papers - If reference papers are provided to support the information, a letter is assigned to the document. The index of reference papers appears at the end of the matrix.
O | Priority - The organization assigned a seam by the NERC / NAESB / IRC Joint Interface Committee (JIC) will use this column to prioritize their efforts.
P | Responsible Organization - The organization assigned a seam by the NERC / NAESB / IRC Joint Interface Committee (JIC).

## Catalog
Orig # | Category | 1ST Sub-Category | 2ND Sub-Category | Description of Seam Issue | Comments | Assoc/ Notes | Seam Interface Type | Region 1 | Region 2 | Seam Impediment Type | Currently Being Addressed ? | Submitter | Reference Papers | Priority | Resp Org
36 | Congestion Management | Congestion Management Market Coordination | Coordinate Hedging Instruments at Market Interfaces | Coordination of market based congestion hedging instruments, such as FTRs, between adjacent RTOs with markets, especially for out and thru' transactions |  | 59 | RTO Market to RTO Market | All RTOs with market | All RTOs with market | Market Rule / Business Practice |  | Raj Rana - AEP | No | 3
132 | Congestion Management | Congestion Management Market Coordination | Joint Re-Dispatch Agreements | Interaction with American Transmission Company; possible joint redispatch agreement among ATC-PJM-Generators on ATC's system |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | K | 3
115 | Congestion Management | Congestion Management Market Coordination | Standardize Congestion Management Market Data Exchange | Congestion Management Procedures including reciprocal coordination agreement, exchange of data for real-time and projected operations, SCADA, EMS, Operations Planning and Planning information and models; better granularity, avoid double counting, use of state estimator and LMP to enable RTOs to accurately and consistently quantify flows/impacts outside of NERC IDC to enable RTO to RTO and market to market congestion management to achieve greater efficiencies without calling TLRs; MISO and PJM and expansions to use same methods. | Definition of AFC coordination process between RTOs. |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | I | 1
35 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | LMP prices at borders of RTOs with markets (Price cap included) |  |  | RTO Market to RTO Market | All RTOs with market | All RTOs with market | Market Rule / Business Practice |  | Raj Rana - AEP | No | 3
68 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | Market Design - Prior to Day Ahead. Secondary Market | To the extent that at a minimum congestion redispatch occurs in an RTO (i.e. a limited energy market), can a method be developed to produce consistent prices at the boundaries? If not, can price discontinuities be tolerated or managed? (Issue I.b.1) |  |  |  |  | Fundamental approach -- financial hedging issue. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
70 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | Market Design - Day Ahead. Congestion Management Market | If models with identical levels of detail for the West are not used by all three RTOs, do the various simplifications for areas outside any given RTO create problems in achieving a uniform set of redispatch prices? (Issue I.b.3) |  |  |  |  | Modeling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
72 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | Market Design - Day Ahead. Model spatial granularity | To the extent that at a minimum congestion redispatch occurs in an RTO (i.e. a limited energy market), can a method be developed to produce consistent day ahead prices at the boundaries? (Issue I.b.5) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
80 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | Market Design - Day Ahead. Other Scheduling Requirements | To the extent that at a minimum congestion redispatch occurs in an RTO (i.e. a limited energy market), can a method be developed to produce consistent prices at the boundaries that send the same signal to the market? If not, can price discontinuities be tolerated or managed? (Issue I.b.13) |  |  |  |  | Financial approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
92 | Congestion Management | Congestion Management Market Coordination | Standardize Prices at Market Interfaces | Market Design - Real Time. Model objective function | How much would a common dispatch interval mitigate against price discontinuities at boundaries? (Issue I.d.2) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
62 | Congestion Management | Congestion Management Market Coordination |  | Market Design - Prior to Day Ahead. Financial or Physical | Must the offerings be identical? How can congestion management discontinuities be mitigated? (Issue I.a.3) |  |  |  |  | Fundamental approach -- financial hedging and scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
63 | Congestion Management | Congestion Management Market Coordination |  | Market Design - Prior to Day Ahead. Option or Obligation | Do different CM models create barriers to trade, and if so, how can these differences be mitigated? (Issue I.a.4) |  |  |  |  | Fundamental approach -- financial hedging and scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
64 | Congestion Management | Congestion Management Market Coordination |  | Market Design - Prior to Day Ahead. Revenue Stream/ or Offset CM Cost | Must the term of congestion offerings be identical? How can congestion management discontinuities be mitigated? (Issue I.a.5) |  |  |  |  | Fundamental approach -- financial hedging and scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
129 | Congestion Management | Congestion Management Market Coordination |  | Selection process for market/TLR coordinated flowgates; inclusion of flowgates in PJM FTR/ARR auctions; flowgates with and without effective control by markets; updates to flowgate list, phase-in; dispute resolution; let RTO calculate flows outside of IDC and TLR; audit rights; confidentiality of data; consideration of flowgates outside PJM and MISO | Standardized rules for determining flowgates impacted by an RTO. |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
138 | Congestion Management | Congestion Management Market Coordination |  | Coordination of congestion | Several regional efforts are underway. Coordinate practices and methods between areas with different market approaches. |  | All | All | All | Business Practice | Yes | Karl Tammar - ISO/RTO Council | No
125 | Congestion Management | Determining Control Area Boundaries |  | Retention of former CAs in the model | When expanding Control Area boundaries (i.e., merging Control Areas) is it necessary to retain "Historic" boundaries for use in NNL estimation or other reasons? |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 3
73 | Congestion Management | Operate Markets Within Transmission Limits |  | Market Design - Day Ahead. Model objective function | Who coordinates the scheduling constraints (i.e., security constrained dispatch) on paths that cross RTO boundaries to ensure that inter-RTO schedules do not exceed reliability standards? (Issue I.b.6) |  |  |  |  | Modeling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
130 | Congestion Management | Operate Markets Within Transmission Limits |  | What happens when MISO and PJM and outside PJM/MISO firm and CBM exceed TTC - day ahead mechanism to reduce oversubscribed conditions |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 2
43 | Congestion Management | Standardize and Coordinate ATC Calculations | Contract Tie Capacity Sharing | Allow Sharing Contract Tie Capacity between Entities across Seams | Lack of Coordination and Sharing of Tie Capacity is an artificial market barrier | 27.1, 117, 141 | All | All | All | Market Rule / Business Practice | Limited | Carl Monroe, Southwest Power Pool | No | ?
59 | Congestion Management | Standardize and Coordinate ATC Calculations | Coordinate Hedging Instruments at Market Interfaces | Inter-control area congestion management / parallel flow management | Develop congestion hedges across control area boundaries. | 36 | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
44 | Congestion Management | Standardize and Coordinate ATC Calculations | Standardize TRM and CBM Calculations | Calculation and Values of TRM and CBM consistent | Underutilization of Transmission Capacity |  | All | All | All | Market Rule / Business Practice | Limited | Carl Monroe, Southwest Power Pool | No | ?
17 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings | Reconcile ATC Calculations Between Physical and Financial Transmission Markets | TTC-ATC calculation/posting | Interface between a financial market (no physical transmission arrangements) and physical transmission regions (selling transmission capacity through OASIS reservations): Problems of TTC-ATC calculations coordination. Counterparties include IMO, NYISO, and ISO-NE. | 18, 19 Consolidate | Other | HQ TransÉnergie | ISO's | Market Rule / Business Practice | No | Victor Bissonnette - HQ TransÉnergie | No
61 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings | Reconcile ATC Calculations Between Physical and Financial Transmission Markets | Market Design - Prior to Day Ahead. Congestion Revenue Rights (CRRs) [Firm Transmission Rights (FTRs) in MD02, FTOs in RTO West] | Are all transmission rights both physical and financial required to be identical to mitigate the seams problems? (Issue #I.a.2) |  |  |  |  | Fundamental approach -- financial hedging and scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
9 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings |  | Transmission Calculations | Transmission calculations are not consistent. Solution: Standardized ATC Calculations. |  | All | Non-RTO Market | Non-RTO Market/ISO Market | Market Rule/Business Practice | Yes - SSG - WI | Steven Cobb - SRP | No
55 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings |  | Improved TTC/ATC posting | Monthly and yearly posting of TTC/ATC values to support transaction pre-scheduling. Clarify how the ATC values calculated by each ISO should be used to ascertain the ability of the interface to support transactions. |  | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
109 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings |  | ATC Differences - Individual control areas determine ATC for jointly operated transmission interfaces. Differences in ATC calculations can confuse the marketplace, which may react by avoiding transactions that would otherwise be economic due to the uncertainty and perceived risk. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
116 | Congestion Management | Standardize and Coordinate ATC Calculations and Postings |  | ATC/AFC Coordination - MISO and PJM to coordinate with any external parties wishing to do so, respecting all significant flowgates external to their respective boundaries; availability and levels of service and curtailments for firm and non-firm, network and point to point. |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | No | 2
20 | Congestion Management | Standardize TCC Calculations Across Interfaces |  | TTC coordination | Disagreement between two operators on the physical capability of an interconnection (line 7040 and Phase II). Counterparties are NYiso and ISO-NE. | 21 Consolidate | Other | HQ TransÉnergie | NYiso | Market Rule / Business Practice | Yes | Victor Bissonnette - HQ TransÉnergie | No
69 | Congestion Management | System Market Modeling Coordination | Standardize Prices at Market Interfaces | Market Design - Day Ahead. Energy Spot Market | In order to achieve a uniform set of redispatch prices, if that is necessary, do the network models have to be identical, with the exact system? Each time each one is used does it have to be synchronized with the other RTOs or is a single process required? In addition do the programs that use the models have to be identical in order to get the uniform set of redispatch prices? (Issue I.b.2) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
47 | Congestion Management | System Market Modeling Coordination |  | Operational Model Updates | Areas must have up to date models for operational use of other areas across the seam |  | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
75 | Congestion Management | System Market Modeling Coordination |  | Market Design - Day Ahead. Model objective function | Does the use of both AC and DC OPFs introduce compatibility problems? (Issue I.b.8) |  |  |  |  | Modeling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
121 | Congestion Management | System Market Modeling Coordination |  | Market flow data - reflect ISN and SDX data | Standardize inputs to estimation of power flows (i.e., GLDFs, outages, etc…). |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 3
123 | Congestion Management | System Market Modeling Coordination |  | GDLF calculation | Standardized methodology for determining distribution factors - standard OPF model for each interconnection? |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | ?
135 | Congestion Management | System Market Modeling Coordination |  | Historic NNL values should not be reflected indefinitely in the future, and an appropriate mechanism to rationalize the historic flows to recognize eventual market conditions should be developed |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 2
133 | Congestion Management | Transmission Market Design | Redispatch of Generation | Define "RTO area wide dispatch" | AJR - This refers to centralized dispatch across a RTO Footprint, rather than within a CA Boundary. |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
110 | Congestion Management | Transmission Market Design | Transmission Market Manipulation | ATC Manipulation - Market participants schedule transactions day-ahead and beyond with no intent to deliver energy. Cancellation in real-time by a market participant results in unused ATC, ramp capability that cannot be used by other market participants. Valuable capability is left unused. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
53 | Congestion Management | Transmission Market Design | Transmission Service Product Type Priority | CAISO ETC rights scheduling - Contract Reference Number | CAISO uses Contract Numbers to track ETC rights. This causes Phantom Congestion and does not allow ETC rights holders to sell and schedule their transmission | 14, 16, 94, 95, 141, 142 | CAISO Market to Non CAISO market | Non ISO market | CAISO market | Market rule/Business practice/ CAISO software | No | Robert D. Schwermann - SMUD | No
88 | Congestion Management | Transmission Market Design | Transmission Service Product Type Priority | Market Design - Day Ahead. Centralized Unit Commitment. | Does a recallable physical right conflict with a redispatch set in a day-ahead clearing process? (Issue I.b.21) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
98 | Market Design | Energy Market Design and Coordination | Demand Side Energy Market Coordination | Market Design - Post Real Time. Settlement stages | How does bidding or demand-side response between or among RTO's affect the scheduling and dispatch of obligations within the RTO's? Can these kinds of trades between RTOs be accommodated? Does trade of these services between RTOs have implications for either the exporting or importing RTOs ability to meet reliability criteria? (Title to power needs to be established) (Issue II). |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
90 | Market Design | Energy Market Design and Coordination | Hour Ahead & Real-Time Energy Market Coordination Across Market Interfaces | Market Design - Hour Ahead. Timing | How does hour-ahead market integrate with neighbors who do not have hour-ahead process? (Issue I.c.2) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
91 | Market Design | Energy Market Design and Coordination | Hour Ahead & Real-Time Energy Market Coordination Across Market Interfaces | Market Design - Hour Ahead. Energy Market, Congestion Management Market, and Ancillary Services Market | Is it necessary to align real time markets? If so, can a method be developed to produce consistent real-time prices at the boundaries? (avoid an price discontinuity due to separate calculation of prices with different information.) (Issue I.d.1) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
93 | Market Design | Energy Market Design and Coordination | Hour Ahead & Real-Time Energy Market Coordination Across Market Interfaces | Market Design - Real Time. Dispatch interval | Can a method be developed to produce consistent real-time prices at the boundaries? (avoid an price discontinuity due to separate calculation of prices with different information.) If not, can discontinuities be tolerated or managed? [This may be more of a settlements issue than a consistency issue.] (Issue I.d.3) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
131 | Market Design | Energy Market Design and Coordination |  | Express sunset provisions for implementation of Day 2 markets |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
113 | Market Design | Green Power Market |  | Green power attributes trading |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | No | 3
96 | Market Design | Market Settlement Systems | Energy Market Settlement Process at Market Interfaces | Market Design - Real Time. Penalties | Do settlement systems have to be common as long as price discontinuities at the boundaries are managed? (Issue I.e.1) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
97 | Market Design | Market Settlement Systems | Energy Market Settlement Process at Market Interfaces | Market Design - Post Real Time. Settlement stages | How are inter-RTO settlements managed? (Includes the revenue adequacy issues related to achieving consistent prices.) (Issue I.e.2) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
86 | Market Design | Transmission Ancillary Service Market Design and Coordination | Ancillary Service Auction Coordination | Market Design - Day Ahead. Ancillary Service Market | All three propose auctions: Do the auctions have be identical? Is it possible to use price exchange (say as imputed bids) in connection with interactive calculation to minimize the spread between the A/S auctions? (Issue I.b.19) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
81 | Market Design | Transmission Ancillary Service Market Design and Coordination | Ancillary Service Prices at Market Interfaces | Market Design - Day Ahead. Congestion Prices. | Can a “best practice” model for definition and acquisition of ancillary services products be developed to produce consistent prices at the RTO boundaries? (Issue I.b.14) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
16 | Market Design | Transmission Ancillary Service Market Design and Coordination | Reactive Power Compensation | Compensation for Reactive Power | Lack of compensation lessens incentives for operators to solve problems and for accountants to spend money on metering. | 14, 141, 142, Split - Trans/Gen | All | All | All | Market Rule / Business Practice and Physical | Yes / IIPTF | Mark Lively - Lively Utility | A - C | 1
85 | Market Design | Transmission Ancillary Service Market Design and Coordination | Transmission Service Requirements for Ancillary Service Delivery | Market Design - Day Ahead. Ancillary Service Market | Does the RTO of the A/S seller recognize the transmission capacity reservation required to enable the reserves to respond for outages in the RTO of the buyer? (Issue I.b.18) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
74 | Market Design | Transmission Ancillary Service Market Design and Coordination |  | Market Design - Day Ahead. Model objective function | What is the effect of linking energy and ancillary service markets in the optimizations on model coordination issues? (Issue I.b.7) |  |  |  |  | Financial approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
83 | Market Design | Transmission Ancillary Service Market Design and Coordination |  | Market Design - Day Ahead. Ancillary Service Market | When ancillary services are provided from within one RTO for another RTO, does the providing RTO recognize them as obligations within the seller’s RTO? (Issue I.b.16) |  |  |  |  | Fundamental approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
84 | Market Design | Transmission Ancillary Service Market Design and Coordination |  | Market Design - Day Ahead. Ancillary Service Market | How can AS bids be coordinated across three markets to avoid both double counting and inefficient limitations on bids? (Issue I.b.17) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
87 | Market Design | Unit Commitment Procedure Standardization |  | Market Design - Day Ahead. Acquisition Mechanism | Does unit commitment need to be standardized? Is this an area where each RTO can have its own method, which matches its resource mix and system responsiveness? (Rapid response of hydro gen. versus lead time requirements for thermal gen.) (Issue I.b.20) |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
13 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Compensation for Unscheduled Flows of Electricity | Lack of compensation lessens incentives for operators to solve problems and for accountants to spend money on metering. | 14, 16 | All | All | All | Market Rule / Business Practice and Physical | Yes / IIPTF | Mark Lively - Lively Utility | A - C | 1
15 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Compensation for Loop Flow | Lack of compensation lessens incentives for operators to solve problems and for accountants to spend money on metering. | 14, 16 | All | All | All | Market Rule / Business Practice and Physical | Yes / IIPTF | Mark Lively - Lively Utility | A - C | 1
29 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Allocation of transmission capacity on reciprocal flow gates amounts to transmission service without compensation. Legitimizes "parallel loop flow". |  | 14, 16, 43, 117, 141 | RTO Market to RTO Market | MISO | PJM | Market Rule / Business Practice |  | Dave Nick - DTE Energy | E
66 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Market Design - Prior to Day Ahead. Duration | How will rights for loop flows (non-contract flows) in other RTOs be allocated/acquired? (Issue I.a.7) |  |  |  |  | Fundamental approach -- financial hedging issue. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
134 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Compensation for parallel flows |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 2
142 | Market Design | Unscheduled/Parallel Path Flow Management | Compensation for Unscheduled/Parallel Path Flow | Pricing for native load loop flow impacts |  | 14, 16, 94, 95 | All | Eastern Inter-connection | Eastern Inter-connection | Business Practice | No | Ed Davis - Entergy | No
77 | Market Monitoring/ Compliance | Anti-Gaming Coordination |  | Market Design - Day Ahead. Schedule Components | Will different RTO congestion management systems enhance opportunities for gaming or affect generation dispatch efficiency? (Issue I.b.10) |  |  |  |  | Financial approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
11 | Market Monitoring/ Compliance | Market Monitoring Entity Requirements |  | Market Oversight | New and mature markets need oversight to ensure that existing rules are complied with and new rules are adequate in meeting the scenarios they were designed to govern. Solution: Independent Market Auditor or Monitor. | Hold | All | Non-RTO Market/ISO Market | Non-RTO Market/ISO Market | Market Rule/Business Practice | Yes - SSG - WI | Steven Cobb - SRP | No
94 | Market Monitoring/ Compliance | Penalty/Sanction Coordination |  | Market Design - Real Time. Imbalance Price | Do penalties need to be the same in each RTO? (Issue I.d.4) | 14, 16 |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
95 | Market Monitoring/ Compliance | Penalty/Sanction Coordination |  | Market Design - Real Time. Penalties | Will inconsistent imbalance penalty practices hamper non-dispatchable resource sales across RTO boundaries? (Issue I.d.5) | 14, 16 |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
3 | Market Standards | Energy Market Standard Product Definitions |  | Definition & treatment of Firm/nonfirm Power | Annual Plan Item 4ci moved from MOS |  | All | All | All | Market Rule / Business Practice | No | Lou Oberski - Dominion Energy | No
10 | Market Standards | Energy Market Standard Product Definitions |  | Energy Products | Entities have disagreements concerning the definitions of various energy products. Solution: Standardized Energy Products. | 25, 34, 111, 139 | All | Non-RTO Market | Non-RTO Market/ISO Market | Market Rule/Business Practice | Yes - WECC | Steven Cobb - SRP | No
25 | Market Standards | Energy Market Standard Product Definitions |  | Need for common physical market and products - regional variations permitted |  | 10, 34, 111, 139 | All | All | All | Market Rule / Business Practice | No | Linda Horn - WE Energies | No | 1
34 | Market Standards | Energy Market Standard Product Definitions |  | Clarification of Product Definitions | Complete/Standard definitions for Liquidated Damages (LD), "Into", etc. | 10, 25, 111, 139 | All | All | All | Market Rule / Business Practice | No | Tony Reed - Southern | No
139 | Market Standards | Energy Market Standard Product Definitions |  | Standard definition of energy products | Energy products and services have common attributes in all markets. Standards definitions will improve efficiencies in communicating and operating between areas with various market designs | 10, 25, 34, 111 | All | All | All | Business Practice | Yes | Karl Tammar - ISO/RTO Council | No
7 | Market Standards | Market Standard Communication Protocols and Transparency |  | Market Price Information | Market pricing methodology not comprehensive, consistent or dependable. Solution: Standardized Indices, Independently Managed. |  | Non-RTO Mkt to Non-RTO Mkt | Non-RTO Market | Non-RTO Market | Market Rule/Business Practice | No | Steven Cobb - SRP | No
42 | Market Standards | Market Standard Communication Protocols and Transparency |  | Data Visibility | Inability to view neighboring markets information through a common software such that this sometimes hinders Market Participants ability to complete business in a timely fashion. |  | All | NYISO | RTO | Market Rule / Business Rule | Yes | Marjorie Perlman - Energy East | No
52 | Market Standards | Market Standard Communication Protocols and Transparency |  | Confidentiality of Data and Information Shared | Standards of Confidentiality would enhance the capability to resolve data sharing and information posting | 42 | All | All | All | Market Rule / Business Practice | Limited | Carl Monroe, Southwest Power Pool | No | ?
71 | Market Standards | Market Standard Communication Protocols and Transparency |  | Market Design - Day Ahead. Model spatial granularity | To what extent do RTOs need to see other RTOs’ scheduling information? (Issue I.b.4) |  |  |  |  | Modeling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
140 | Market Standards | Market Standard Communication Protocols and Transparency |  | Standard messaging protocols for market notifications | Market participants will benefit from common messaging protocols. |  | All | All | All | Business Practice | No | Karl Tammar - ISO/RTO Council | No
136 | Market Standards | Market Standard Operating Time |  | Inconsistent Market Event Timelines | ATC postings between a physical reservation system and a financial reservation system. There is a disconnect between the timing of bids and offers in the Ontario market and the releasing of firm transmission in MISO for which schedules have not been submitted for use as non-firm transmission. |  | RTO Market to RTO Market | NPCC | ECAR | Market Rule / Business Practice | No | Barry Green - Ontario Power Gen. | No
1 | Market Standards | Market Standard Operating Time |  | Non Standard Time Zone | The lack of a standard Time Zone causes Market Inefficiencies |  | All | All | All | Market Rule / Business Practice | No | Phil Cox - AEP | No
137 | Market Standards | Market Standard Operating Time |  | Inconsistent Market Event Timelines | Timing issues between bid based markets (one example only - not knowing whether your bid has been accepted in "sink" market before having to commit in the "source" market). |  | RTO Market to RTO Market | IMO | NYISO | Market Rule | No | Barry Green - Ontario Power Gen. | No
14 | Market Standards | Physical and/or Financial Resolution of Inadvertent Interchange |  | Compensation for Inadvertent Interchange | Lack of compensation lessens incentives for operators to solve problems. Explicit compensation for inadvertent interchange is necessary for appropriate definition of other products, in that such compensation ensures that the defined product is delivered. | 16, 53, 94, 95, 141, 142 | All | All | All | Market Rule / Business Practice and Physical | Yes / IIPTF | Mark Lively - Lively Utility | A - C | 1
111 | Market Standards | Transmission Ancillary Service Market Design and Coordination | ICAP Market Standardization | Capacity Market - Differences in ICAP definitions, requirements, deliverability, and recall procedures have hampered the ability of suppliers to sell ICAP between Northeast ISOs (include regional resource adequacy model, external 30-minute reserves participation, harmonize demand response programs) |  | 10, 25, 34, 139 | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
46 | Planning | Transmission Expansion and Generator Interconnection Coordination | Generator Interconnection - Affected Systems | Generation Interconnection Studies | Generation Interconnections close to seam affects both areas | 114, 57 | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
57 | Planning | Transmission Expansion and Generator Interconnection Coordination | Generator Interconnection Transmission Requirements | Transmission interconnection procedures | Need consistent approach to treating merchant generation interconnection procedures with transmission | 46, 114 | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
114 | Planning | Transmission Expansion and Generator Interconnection Coordination | Interregional Transmission Planning Procedures | Coordination of interregional planning including transmission facilities and generator interconnection procedures |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 1
26 | Planning | Transmission Expansion and Generator Interconnection Coordination | Transmission Expansion Cost and Construction Responsibilities | Transmission expansion planning - coordination between systems and determine who is obligated to build and pay for improvements | Being reviewed by PJM/MISO. |  | All | All | All | Market Rule / Business Practice | Yes | Linda Horn - WE Energies | No | 1
48 | System Reliability | Emergency Operations | Computer Failures | Communication of Computer Failures | Needed for reliable operations and emergency operations |  | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
49 | System Reliability | Emergency Operations | Emergency Operating Procedures for Market Interfaces | Emergency Procedures | Emergency procedures require operations across seams | 118 | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
128 | System Reliability | Emergency Operations | System Monitoring and Contingency Plans | Contingency plans; critical path analysis |  | 14, 16 | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 2
118 | System Reliability | Emergency Operations | System Restoration Procedures | Emergency and Restoration Plans - operating procedures for Voltage Collapse and Stability |  | 46 | All | PJM | MISO | Market Rule / Business Practice | Included in Attachment A of MISO and PJM Reliability Plans | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | I | 2
122 | System Reliability | Functional Model |  | Control area - control zone responsibilities vs. market operator |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
50 | System Reliability | Generation-Load Balance | Interchange Schedule Ramping Requirements | Schedule Ramp Management | Ramping standard differences across the seams hinder business | 108 | All | All | All | Market Rule / Business Practice | Limited | Carl Monroe, Southwest Power Pool | No | ?
108 | System Reliability | Generation-Load Balance | Interchange Schedule Ramping Requirements | Failure of Transactions due to Ramping of Control Area Interchange - Desirable transactions between control areas may be "blocked" from access to the grid due to insufficient dispatch capacity to absorb large schedule changes while maintaining energy/load balance within the control area. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 2
51 | System Reliability | Generation-Load Balance | Inter-Market Resource Requirements | Resource Adequacy | Parties in one area rely on resources in other areas. Validation of their reliance on the other area must be coordinated. | May need to be subdivided, 5 | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
27 | System Reliability | Inter-Market and Intra-Market Facility Outage and Maintenance Coordination |  | Outage Maintenance Coordination | Being reviewed by PJM/MISO. See PJM presentation "Status Report to FERC on July 31, 2002 Alliance Order" dated Jan 2003, page 6 as posted under NAESB WEQ Seams subcommittee July 8 date | 45 (was #27.5) | All | All | All | Market Rule / Business Practice | Yes | Linda Horn - WE Energies | D | ?
45 | System Reliability | Inter-Market and Intra-Market Facility Outage and Maintenance Coordination |  | Coordination of Transmission and Generation Outages | Both forced and planned outages | 27.5 | All | All | All | Physical | Limited | Carl Monroe, Southwest Power Pool | No | ?
120 | System Reliability | Inter-Market and Intra-Market Facility Outage and Maintenance Coordination |  | Facilities in close electrical proximity under different RTOs - outage maintenance coordination, access and expansion planning |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
30 | System Reliability | Operate Markets Within Transmission Limits |  | Market allocations over flow gates are approved without regard to flow gate capacity resulting in over subscription of flow gates. |  |  | RTO Market to RTO Market | MISO | PJM | Market Rule / Business Practice |  | Dave Nick - DTE Energy | E
99 | System Reliability | Operating Reserves/Resource Adequacy | Energy and Reactive Capacity Reserve Requirements | Demand Response Participation. | If there is an RTO capacity requirement for all RTOs, how will double-counting across RTOs be avoided? Note: RTO West and WestConnect are not currently proposing a resource adequacy requirement independent of the requirement for balanced schedules. (Issue X.1). |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
100 | System Reliability | Operating Reserves/Resource Adequacy | Energy and Reactive Capacity Reserve Requirements | Resource Adequacy. Resource Adequacy Assessment. | If there is an RTO capacity requirement for all RTOs, do different resource adequacy approaches result in different penalty structures and if so, does this create problems, e.g., opportunities for arbitrage? Note: RTO West and WestConnect are not currently proposing a resource adequacy requirement independent of the requirement for balanced schedules. (Issue X.2). |  |  |  |  | Other issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
119 | System Reliability | Operating Reserves/Resource Adequacy | Energy and Reactive Capacity Reserve Requirements | NERC Regional Criteria and Reserve Sharing - define operating policy changes, waivers, or certifications that are needed to permit security-constrained dispatch over multiple existing control areas to allow flows not to be tagged; Joint Reliability Coordination - NERC Policies 5 and 9 |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 2
82 | System Reliability | Operating Reserves/Resource Adequacy | Reliability Aspects of Inter-Market Scheduling of Ancillary Services | Market Design - Day Ahead. Ancillary Service Market | How does bidding of ancillary services between or among RTOs affect the scheduling and dispatch obligations within the RTOs? Can this kind of trade between RTOs be accommodated? Does trade of these services between RTOs have implications for either the “exporting” or “importing” RTO’s ability to meet reliability criteria? (Issue I.b.15) |  |  |  |  | Market issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
107 | System Reliability | Transaction Curtailments | Market Impacts of Transaction Curtailments for Reliability Reasons | Transaction Curtailment - Transaction curtailments for security may extend beyond the reliability need due to differences in market timing. Extended curtailments are disruptive to both the marketplace and the reliable operation of the grid. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
126 | System Reliability | Unscheduled/Parallel Path Flow Management | Interchange Distribution Calculator Requirements | Definition of coordination between market entity (PJM or MISO) and the IDC; define necessary changes to IDC; updates of base cases and book of flowgates |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 1
127 | System Reliability | Unscheduled/Parallel Path Flow Management | Interchange Distribution Calculator Requirements | Industry oversight and reporting of PJM and MISO impact calculations - IDC cost, cost allocation to reimburse NERC |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 3
23 | System Reliability | Unscheduled/Parallel Path Flow Management | Parallel Path/ Unscheduled Flow Monitoring and Operation | How different congestion management methodologies will interact to ensure parallel flows and impacts are recognized and controlled to ensure system reliability. | Being reviewed by PJM/MISO. | 115 | All | All | All | Physical | Yes | Linda Horn - WE Energies | No | 1
24 | System Reliability | Voltage Control |  | Voltage Operating Procedures | Being reviewed by PJM/MISO. See PJM presentation "Status Report to FERC on July 31, 2002 Alliance Order" dated Jan 2003, page 6 as posted under NAESB WEQ Seams subcommittee July 8 date | (was #27.4) | All | All | All | Market Rule / Business Practice | Yes | Linda Horn - WE Energies | D | 2
5 | System Reliability | Operating Reserves/Resource Adequacy | Energy and Reactive Capacity Reserve Requirements | Provision of reserves across multiple control areas | Annual Plan Item 4cii moved from MOS | 51 | All | All | All | Market Rule / Business Practice | No | Lou Oberski - Dominion Energy | L
39 | Transaction Scheduling | Controllable Line Scheduling |  | Controllable Line Scheduling | Concept of operations for general methodology to schedule controllable lines between RTOs. Being reviewed by NYISO | 58 | All | NYISO | RTO | Market Rule / Business Rule | Yes | Marjorie Perlman - Energy East | No
58 | Transaction Scheduling | Controllable Line Scheduling |  | Controllable line scheduling | Concept of Operations for general methodology to schedule controllable lines has been drafted. A multi-ISO stakeholder group (similar to JCAG) needs to be formed to review the draft Concept of Operations to provide stakeholder input. | 39, 60 | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
60 | Transaction Scheduling | Controllable Line Scheduling |  | Cross-border price convergence | The lack of price convergence at the control area boundaries may inhibit the desire of market participants to arbitrage between neighboring markets. This issue is being referred to the individual ISO Market Committees for further definition on the business issue that needs resolution. | 58 | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
12 | Transaction Scheduling | Interchange Scheduling Standardized Protocols | Develop Electronic Scheduling | Interchange/Intrachange Scheduling Data Exchange | Current E-Tagging process is inadequate for exchanging reliability and market data within the Western Interconnection. Solution: Electronic Scheduling |  | All | Non-RTO Market/ISO Market | Non-RTO Market/ISO Market | Market Rule/Business Practice | Yes - WECC | Steven Cobb - SRP | No
41 | Transaction Scheduling | Interchange Scheduling Standardized Protocols | Inter-Market Ramping Requirements Standardization | Scheduling Coordination (including Ramp Rates) | RTOs have different ramp rates and scheduling requirements that require Market Participants to complete multiple submissions for the same transaction. |  | All | NYISO | RTO | Market Rule / Business Rule | Yes | Marjorie Perlman - Energy East | No
79 | Transaction Scheduling | Interchange Scheduling Standardized Protocols | Standardize Inter-Market Scheduling Timelines | Market Design - Day Ahead. Other Scheduling Requirements | Should the time intervals and submission times be synchronized to mitigate obstacles to inter-RTO trade? (Issue I.b.12) |  |  |  |  | Financial approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
78 | Transaction Scheduling | Interchange Scheduling Standardized Protocols | Tools and Procedures to Accommodate Inter-Market Interchange Scheduling Requirements | Market Design - Day Ahead. Schedule Components | Can tools be developed for scheduling submission that assist the user in meeting any differences in protocols between RTOs? (Issue I.b.11) |  |  |  |  | Financial approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
8 | Transaction Scheduling | Interchange Scheduling Standardized Protocols |  | Scheduling | Inconsistent procedures among entities. Solution: Western Interconnection Standardized Interchange Scheduling Protocols. |  | RTO Market to Non-RTO Market | Non-RTO Market | ISO Market | Market Rule/Business Practice | Yes - SSG - WI | Steven Cobb - SRP | No
76 | Transaction Scheduling | Interchange Scheduling Standardized Protocols |  | Market Design - Day Ahead. Model objective function | Do differences in the scheduling requirements (e.g., requirements for balanced schedules) between RTOs create seams problems for inter-RTO schedules? If so, can these problems be mitigated? (Issue I.b.9) |  |  |  |  | Modeling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
104 | Transaction Scheduling | Interchange Scheduling Standardized Protocols |  | Transmission Checkout Failure - Operators curtail transactions due to mismatched tag data, different MW volumes, etc. The curtailment of transactions due to data incompatibility is disruptive to both the marketplace and the reliable operation of the grid. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
106 | Transaction Scheduling | Interchange Scheduling Standardized Protocols |  | Transaction Scheduling - Inconsistent information and market timing rules lead to uncertainty and risk that discourage the scheduling of some inter-regional transactions. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
32 | Transmission Service | Transmission Market Design | Transmission Service Product Type Priority | MISO- PJM market allocation will give preference to the market as Network over PTP even though the Market allocation my be a non paying transmission customer. |  |  | RTO Market to RTO Market | MISO | PJM | Market Rule / Business Practice |  | Dave Nick - DTE Energy | E
40 | Transmission Service | Transmission Market Standard Product Definitions and Priorities | Multiple Proxy Bus Development | Multiple Proxy Buses for Free Flowing Interfaces | Development of multiple proxy buses between RTOs for scheduling and pricing. |  | All | NYISO | RTO | Market Rule / Business Rule | Yes | Marjorie Perlman - Energy East | No
4 | Transmission Service | Transmission Market Standard Product Definitions and Priorities |  | Definition & treatment of Firm/nonfirm Transmission | Annual Plan Item 4cii moved from MOS |  | All | All | All | Market Rule / Business Practice | No | Lou Oberski - Dominion Energy | No
103 | Transmission Service | Transmission Market Standard Product Definitions and Priorities |  | Transmission Service - Market participants require consistent treatment of transmission products across multiple control areas to reduce perceived market risk, scheduling confusion and uncertainty. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
124 | Transmission Service | Transmission Market Standard Product Definitions and Priorities |  | Wide area dispatch and network resources to network loads - resource deliverability if not a firm network load |  |  | All | PJM | MISO | Market Rule / Business Practice | In PJM/MISO Congestion Management Proposal Whitepaper | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | J | 3
141 | Transmission Service | Transmission Market Standard Product Definitions and Priorities |  | Replacement of contract path with flow-based transmission service |  | 14, 16, 94, 95 | All | Eastern Inter-connection | Eastern Inter-connection | Business Practice | No | Ed Davis - Entergy | No
54 | Transmission Service | Transmission Service Pricing | Discounting of Market Interface Transmission ATC | Transmission service charge discounting | Ability for TOs to discount TSC rates on external interfaces to selectively reduce export charges and encourage use of ties. The software exists, however, there does not appear to be any business incentives to exercise discounts. |  | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G
22 | Transmission Service | Transmission Service Pricing | Market Interface Transmission Service Pancaking | Rate pancaking elimination | Being reviewed by PJM/MISO. | 38, 105 | All | All | All | Market Rule / Business Practice | Yes | Linda Horn - WE Energies | No | 1
38 | Transmission Service | Transmission Service Pricing | Market Interface Transmission Service Pancaking | Rate Pancaking | Charges to Market Participants who conduct business over more than one RTO. Reciprocal agreements needed to eliminate these charges. NYISO and ISO-NE |  | All | NYISO | RTO | Market Rule / Business Rule | Yes | Marjorie Perlman - Energy East | No
105 | Transmission Service | Transmission Service Pricing | Market Interface Transmission Service Pancaking | Export Charges (Pancaking) - Control-area specific export charges remove incentives to transact business when transaction margins are of the same magnitude or less than the prevailing export charges. Such charges include transmission and ancillary service components. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
117 | Transmission Service | Transmission Service Procurement | Common Reservation System for Market Interface Transmission ATC | Contract Tie Capacity - One Stop Shopping |  |  | All | PJM | MISO | Market Rule / Business Practice | No | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | No | 2
6 | Transmission Service | Transmission Service Procurement | Common Western Interconnection Wide OASIS | Transmission Access | No transmission market one stop shopping available for the Western Interconnection - entities can’t find needed information to efficiently conduct business on a preschedule or real-time basis. Solution: Common OASIS Site needed. |  | All | Non-RTO Market | Non-RTO Market/ISO Market | Market Rule/Business Practice | Yes - Various Transmission Providers | Steven Cobb - SRP | No
89 | Transmission Service | Transmission Service Procurement | Hour Ahead Transmission Service Market Standardization | Market Design - Day Ahead. Release of Unused Transmission Capacity after Close of DA Markets | How are boundary prices to be synchronized between RTO’s if only one RTO has a hour ahead process? Is it necessary to align hour ahead markets? (Issue I.c.1) |  |  |  |  | Fundamental approach -- scheduling issues. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
33 | Transmission Service | Transmission Service Procurement | Intra-Hour Transmission Service Procurement | Standard for Purchasing of Inter-Hour Transmission | The ability to purchase transmission after the top of the hour when the transmission service is predetermined as available in prior hour. |  | All | All | All | Market Rule / Business Practice | No | Tony Reed - Southern | No
65 | Transmission Service | Transmission Service Procurement | Long-Term Transmission Service for New Construction | Market Design - Prior to Day Ahead. Duration | To the extent that longer term transmission rights are needed for new construction, can agreement be reached to issue long term rights? (Issue I.a.6) |  |  |  |  | Fundamental approach -- financial hedging issue. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
67 | Transmission Service | Transmission Service Procurement | Secondary Transmission Service Market Standardization | Market Design - Prior to Day Ahead. Primary Release Mechanism | There seems to be agreement here that a secondary market would be outside the RTO. If the resulting secondary market is not westwide, will coordination be needed? (Issue I.a.8) |  |  |  |  | Fundamental approach -- financial hedging issue. | SSG-WI, CMA Work Group | Syd Berwager - Bonneville PA | No
112 | Transmission Service | Transmission Service Procurement | Transmission Service for ICAP Market | Long-term Transmission Service Availability to Support ICAP Transactions - Firm transmission reservation requirements to establish "Deliverability" as a requirement to buy external ICAP results in an economic advantage for internal suppliers and a barrier to market entry for external suppliers. |  |  | Market to Market | PJM | ISO NE, NY ISO | Market Rule / Business Practice | In Northeast Power Markets Seams Action Plan | Jeff Mueller (PSEG), and Andy Rodriguez (PJM) | H | 3
28 | Transmission Service | Transmission Service Settlement | Consolidate Multiple Market Transmission Service Settlement Statements | Multiple transmission service charge invoicing | Being reviewed by PJM/MISO. |  | All | All | All | Market Rule / Business Practice | Yes | Linda Horn - WE Energies | No | 3
56 | Transmission Service | Transmission Service Settlement | Consolidate Multiple Market Transmission Service Settlement Statements | Multiple transmission service charge invoicing | Companies that conduct business across Control Area borders are faced with receiving a TSC bill from each TO. A single charge should be provided to each transaction to the appropriate parties and revenues allocated to the TOs according to the appropriate usage formulas. |  | RTO Market to RTO Market | ISO New England | NY ISO |  | Northeast ISO | Joe Rossignoli - National Grid | G

## Reference Papers
# | Reference Paper or Supporting Document Provided
A | “Profit-Enhancing Seam Management: A White Paper on Pricing The Unscheduled Flows of Electricity Across the Seams Between Utilities Using A Geographically Differentiated Auction of Inadvertent Interchange”, released 2001 March 25 (Mark Lively - Lively Utility).
B | "WOLF: Wide Open Load Following," A presentation to the NERC Market Interface Committee, 2002 September 4-5, Houston, Texas (Mark Lively - Lively Utility).
C | E-Mail by Mark Lively to NAESB WEQ Seams Subcommittee of 9/4/2003 8:28:10 PM Eastern Standard Time (Mark Lively - Lively Utility).
D | See the PJM/MISO JOA dated 8/5/03 (Linda Horn - WE Energies).
E | MISO - PJM Managing Congestion to Address Seam Paper, April 28, 2003 (Dave Nick - DTE Energy) (Ed. note: white paper updated Aug. 4, 2003).
F | Intentionally left blank.
G | Northeast ISOs Seams Resolution Report: History of Seam Issues Resolution (Jan. 15, 2003); and Ongoing Northeast ISOs "Seams" Projects, 2003-2004 (Jan. 14, 2003) (Joe Rossignoli - National Grid).
H | In Northeast Power Markets Seams Action Plan - October 9, 2002 and July 14, 2003, and July 3, 2003 timeline update (Jeff Mueller - PSEG).
I | Attachement A of MISO and PJM Reliability Plans (Jeff Mueller - PSEG).
J | MISO compliance filings in FERC Docket No. EL03-35-004 and in Whitepaper "Managing Congestion to Address Seams" PJM and MISO May 16, 2003 (Jeff Mueller - PSEG).
K | ATC's Attachment K (Jeff Mueller - PSEG).
L | M. Lively, Forcing Reserves to Compete with a Physical Market (2002) (Lou Oberski -- Dominion Energy).