## Revisions
DEQ Local Limits Workbook
Revisions
2003-01-08

## Instructions
DEQ Local Limits Workbook Instructions
This workbook consists of nine worksheets (one is hidden). Four worksheets (General, Pass-through, Inhibition, and Sludge Quality) require data input by the user. Data should only be entered in the yellow shaded areas within these four worksheets. The only exception to this is explained below, in the Removal Efficiencies section. Water Quality Standards are presented on the WQ Criteria worksheet for user reference.
General worksheet
Average Pollutant Concentrations. Enter average concentrations of pollutants derived from sampling data or literature values. Influent and effluent data will be used by the spreadsheet to automatically calculate removal efficiencies and display them in the turquoise shaded area.
Removal Efficiencies. These are automatically calculated for pollutants for which influent/effluent data have been entered in the Average Pollutant Concentration section. Alternatively, the user may enter removal efficiencies (in percent), directly into this section. If this is done, the spreadsheet will use the entered removal efficiencies and will not calculate them from influent/effluent data.
Industrial contributory flow. Enter the industrial contributory flow for any pollutants for which the industrial contributory allocation method might be used. If this allocation method is not under consideration, then the user need not enter this information.
Safety Factor. Enter a value, in percent, to serve as a safety factor for each pollutant. There may be different safety factors for different pollutants.
Flow Information. Enter the average POTW flow, industrial flow, and non-industrial flow. The POTW flow should be the sum of the industrial flow and non-industrial flow.
Sludge Information. Enter the sludge flows and percent solids for the sludge.
Sludge Land Application Information. Enter the site use duration and site area. Enter either Y or N (in capital letters) to indicate whether or not the sludge from the POTW is composted.
WQS worksheet
This worksheet is hidden and uses POTW and receiving stream information (which is entered elsewhere in this workbook) and Water Quality Standards to calculate values that are necessary for computing Allowable Headworks Loadings for prevention of pass-through. The user cannot view nor enter information directly into this worksheet.
Pass-through worksheet
Receiving Stream Information. Enter the flow and receiving stream hardness information. If receiving stream hardness is not known, enter 100 mg/L for this parameter.
Mixing Zone and Zone of Initial Dilution Information. Detailed guidance for entering dilution ratio information is included on this worksheet. If no value for effluent hardness is entered, the program will default to 100 mg/L for this parameter.
Inhibition worksheet
Enter inhibition threshold concentrations for secondary, tertiary, and sludge digestion processes.
Sludge Quality worksheet
Sludge Disposal Criteria or Standards. Enter the criteria or standards that apply to the POTW's sludge disposal practices. These values are typically found in Table 1 or Table 3 of the Part 503 Standards for the use or disposal of sewage sludge. The Part 503 Standards are displayed in the table on this sheet.
Annual and Cumulative Application Rate Limits. Enter the applicable limits (in kilograms per hectare), which are found in Table 2 and Table 4 of the Part 503 Standards for the use or disposal of sewage sludge. The Part 503 Standards are displayed in the table on this sheet.

## General
Enter General POTW Information in the Yellow Shaded Areas
The spreadsheet will automatically calculate removal efficiencies when the user enters influent/effluent data. If the user desires to override these calculations (e.g., to enter literature values for removal efficiencies), then these removal efficiencies should be entered in the turquoise columns.
| Average Pollutant Concentrations | [6 empty] | Removal Efficiencies |  |  | Industrial
| POTW | Primary | Secondary | Final | Non- | Sludge To | Biosolids To | (Percent of pollutant removed) |  |  | Contributory
Pollutant | Influent | Effluent | Effluent | Effluent | Industrial | Digester | Disposal | Through | Through | Overall | Flow | Safety
| (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/kg) | Primary | Secondary | POTW | (mgd) | Factor (%)
Arsenic
Cadmium
Chromium
Copper
Cyanide
Lead
Mercury
Molybdenum
Nickel
Selenium
Silver
Zinc
|  | Flow Information |  |  | Sludge Information |  |  | Sludge Land Application Information
|  | POTW Flow (mgd) |  |  | Flow to Digester (mgd) |  |  | Site Use Duration (years)
|  | Industrial Flow (mgd) |  |  | Flow to Disposal (mgd) |  |  | Site Area (acres)
|  | Non-Industrial Flow (mgd) |  |  | % Solids to Disposal |  |  | Compost? Y/N
POTW Name:
POTW Contact:

## WQS (hidden)
CRITERIA AND WASTELOAD ALLOCATION CALCULATIONS
Calculations
PARAMETER |  |  | ¦ | WATER |  | ¦ | RECEIVING WATER |  |  |  |  | ¦ | FACILITY |  | ¦ |  | C |  | ¦ | Percentile Limits |  |  |  | ¦
|  |  | ¦ | QUALITY |  | ¦ | MZ Hardness |  |  | mg/l |  | ¦ |  |  | ¦ |  | h |  | ¦ |  |  |  |  | ¦ |  |  | C | C |  | M
|  |  | ¦ | STANDARDS |  | ¦ | ZID Hardness |  |  |  |  | ¦ | Effluent |  | ¦ | A | r |  | ¦ | 95th |  | ¦ 99th |  | ¦ |  |  | h | h |  | o |  | M
|  |  | ¦ |  |  | ¦ | 7Q10 = | 0 |  | CFS |  | ¦ | Flow |  | ¦ | c | o |  | ¦ | %-ile |  | ¦ %-ile |  | ¦ |  | A | r | r | D | n |  | o
|  |  | ¦ | ug/l |  | ¦ | Available |  |  | % |  | ¦ | 0 | MGD | ¦ | u | n | M | ¦ |  |  | ¦ |  | ¦ | A | c | o | o | a | t | D | n
|  |  | ¦ |  |  | ¦ | [5 empty] | ¦ |  |  | ¦ | t | i | i | ¦ |  |  | ¦ |  | /wcs1~{right}/xg\z~ | c | u | n | n | i | h | a | t
|  |  | ¦ |  |  | ¦ | 1Q10 = | 0 |  | CFS |  | ¦ |  |  | ¦ | e | c | n | ¦ |  |  | ¦ |  | ¦ | u | t | i | i | l | l | i | h
|  |  | ¦ |  |  | ¦ | Available |  |  | % |  | ¦ |  |  | ¦ |  |  |  | ¦ |  |  | ¦ |  | ¦ | t | e | c | c | y | y | l | l
|  |  | ¦ |  |  | ¦ | {1Q10=0 => WLAa=2*CMC} |  |  |  |  | ¦ |  | # | ¦ | L | L | L | ¦ |  |  | ¦ |  | ¦ | bar: A c u t; D a i l to n t h l
|  |  | ¦ | 1 Hour | 4 Day | ¦ | Back | Allocations |  |  |  | ¦ |  | Samples | ¦ | T | T | T | ¦ |  |  | ¦ |  | ¦ | bar: c u t e to t h l y
|  |  | ¦ | (CMC) | (CCC) | ¦ | Ground | Acute | (B) | Chronic |  | ¦ | CV | /Mo | ¦ | A | A | A | ¦ | Daily | Monthly | ¦ Daily | Monthly | ¦ | s | 1 | 4 | 1 | 2 | 2 | u | u
- | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | bar: A c u t to n t h l
ALUMINUM |  | (A) | ¦ | 750 | 87 | ¦ | 0 | 1500 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 481.6248 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 6.0234 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
ARSENIC III |  | (A) | ¦ | 360 | 190 | ¦ | 0 | 720 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 231.1799 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 5.2895 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
CADMIUM |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
CHROMIUM III |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
CHROMIUM VI |  | (A) | ¦ | 16 | 11 | ¦ | 0 | 32 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 10.2747 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 2.1759 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
TOTAL CHROMIUM |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
COPPER |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
CYANIDE |  | (A) | ¦ | 22 | 5.2 | ¦ | 0 | 44 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 14.1277 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 2.4944 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
FLUORIDE |  | (A) | ¦ | 2000 | 1000 | ¦ | 0 | 4000 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 1284.3329 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 7.0043 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
IRON |  | (A) | ¦ | 2000 | 1000 | ¦ | 0 | 4000 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 1284.3329 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 7.0043 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
LEAD |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
MERCURY |  | (A) | ¦ | 2.4 | 0.012 | ¦ | 0 | 4.8 |  | #VALUE! |  | ¦ | 0.6 | 4 | ¦ | 1.5412 | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | 0.27882 | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
NICKEL |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
SILVER |  | (A) | ¦ | #VALUE! | 0.12 | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
ZINC |  |  | ¦ | #VALUE! | #VALUE! | ¦ | 0 | #VALUE! |  | #VALUE! | #VALUE! | ¦ | 0.6 | 4 | ¦ | #VALUE! | #VALUE! | #VALUE! | ¦ | #VALUE! | #VALUE! | #VALUE! | #VALUE! | ¦ | 0.55451 | #VALUE! | #VALUE! | #VALUE! | 0.30748 | 0.086178 | #VALUE! | #VALUE!
NOTES (Not all may appear above):
*** Number exceeds space allocated.
(A) CMC and/or CCC not dependent on hardness.
(B) Acute Allocation = 2 times CMC.
(C) Background exceeds CCC; Chronic allocation set to background value.
Enter CCC value for background to protect to CCC.
¦::
/wtc{home}{pgdn}{goto}b1~/wgrm/xlFacility name? ~e3~
/xnHardness as CaCO3 = ~i6~
/xn7Q10? (as MGD or CFS) ~tem~
/xmmgdcfs1~
/ctem~i8~
/xnPercent of 7Q10 available for mixing? ~i9~
/xn1Q10 (Enter 0 for Idaho)? ~tem~
/xitem>0~/xmmgdcfs2~
/xitem>0~/ctem~i11~
/xitem>0~
/xii11>0~/xnPercent of 1Q10 available for mixing? ~i12~
/xii11=0~/ci11~i12~
/xnFacility effluent flow? (MGD) ~tem~
/xmmgdcfs3~
/ctem~n9~/wgra/retem~
{home}{goto}a17~{right}{right}{right}/wtb{right}{right}{right}{right}/xq
/pparDATA~os{esc}\027e\027&l1O\027(s16.66H~qagpq/xq
/qy
CFS? | MGD?
Flow stated in CFS | Flow stated in MGD
/xgret1~ | {goto}tem~{edit}*1.547~{home}/xgret1~
CFS? | MGD?
Flow stated in CFS | Flow stated in MGD
/xgret2~ | {goto}tem~{edit}*1.547~{home}/xgret2~
MGD? | CFS?
Flow stated in MGD | Flow stated in CFS
/xgret3~ | {goto}tem~{edit}*1.547~{home}/xgret3~
RANGE NAMES & RANGES
DATA | A1..Y39
MGDCFS1 | A58..B58
MGDCFS2 | A61..B61
MGDCFS3 | A64..B64
RET1 | A44
RET2 | A48
RET3 | A54
TEM | A1
\0 | A40
\P | A56
\Q | A57
\R | A40

## Pass-through
Enter Pass-Through Information in the Yellow Shaded Areas
|  | NPDES | Receiving | WQ Spreadsheet | Pass-Through
|  | Permit | Stream | 95th %-ile Value | Allowable
| Pollutant | Limit | Background | Daily Maximum | Loading
|  | (mg/L) | (mg/L) | (μg/L) | (lbs/day)
Arsenic
Cadmium
Chromium
Copper
Cyanide
Lead
Mercury
| Molybdenum |  |  | NA
Nickel
| Selenium |  |  | NA
Silver
Zinc
Receiving Stream Information |  | Mixing Zone and Zone of Initial Dilution Information
7Q10 Flow (cfs) |  | Dilution Ratio at edge of Mixing Zone |  |  | 1 | Percent of 7Q10 Available
1Q10 Flow (cfs) |  | Dilution Ratio at edge of Zone of Initial Dilution |  |  | 2 | Percent of 1Q10 Available
Stream Hardness (mg/L) |  | Effluent Hardness (mg/L) |  |  | 80 | POTW Flow (mgd)
Hardness at edge of Mixing Zone
Hardness at edge of Zone of Initial Dilution
Note: Dilution Ratios are derived from mixing zone studies or modeling. A dilution ratio equals the upstream river flow divided by the effluent flow. It is often expressed as a ratio of two numbers (e.g., 3.2 to 1 or 3.2:1), but should be entered on this spreadsheet as a single number. For example, a dilution ratio of 3.2 to 1 (3.2:1) should be entered as 3.2 in the space provided.
If the mixing zone study presents dilution information as a single number, then that number is likely a dilution factor. A dilution factor equals the sum of the river and effluent flows divided by the effluent flow. This is equivalent to 1 + the dilution ratio. Therefore, the number to be entered into the spreadsheet is the dilution factor - 1. For example, if the mixing zone study presents a dilution factor of 4.2, then the dilution ratio = 4.2 - 1 = 3.2. Thus 3.2 should be entered into the spreadsheet as the dilution ratio.

## Inhibition
Enter Inhibition Concentrations (in mg/L) in the Yellow Shaded Areas
| Secondary Processes |  |  |  | Tertiary Processes |  |  | Digestion Processes |  |  | Inhibition
Pollutant | Activated |  | Other | Allowable | Tertiary | Other | Allowable | Anaerobic | Other | Allowable | Allowable
| Sludge | Nitrification | Secondary | Loading | Process | Tertiary | Loading | Digester | Digestion | Loading | Loading
Arsenic
Cadmium
Chromium
Copper
Cyanide
Lead
Mercury
Molybdenum
Nickel
Selenium
Silver
Zinc

## Sludge Quality
Enter Sludge Quality Information in the Yellow Shaded Areas
| Sludge Disposal | Annual |  | Cumulative |  |  | Sludge Quality
| Criteria or | Application |  | Application |  |  | Allowable
Pollutant | Standards | Rate Limit | CLIM(A) | Rate Limit | CLIM(C) | CSLCRIT | Loading
| (mg/kg) | (kg/hectare/year) | (mg/kg) | (kg/hectare) | (mg/kg) | (mg/kg) | (lbs/day)
Arsenic
Cadmium
Chromium
Copper
Cyanide
Lead
Mercury
Molybdenum
Nickel
Selenium
Silver
Zinc
|  |  | Table1 | Table 2 | Table 3 | Table 4
|  |  | Ceiling | Cumulative | Clean | Annual
|  | Pollutant | Concentrations | Loading Rates | Sludge | Loading Rates
40 CFR Part 503 |  |  | (mg/kg) | (kg/hectare) | (mg/kg) | (kg/hectare/year)
|  | Arsenic | 75 | 41 | 41 | 2
Standards for the |  | Cadmium | 85 | 39 | 39 | 1.9
| ========> | Chromium | NA | NA | NA | NA
Use or Disposal of |  | Copper | 4300 | 1500 | 1500 | 75
|  | Cyanide | NA | NA | NA | NA
Sewage Sludge |  | Lead | 840 | 300 | 300 | 15
|  | Mercury | 57 | 17 | 17 | 0.85
|  | Molybdenum | 75 | NA | NA | NA
|  | Nickel | 420 | 420 | 420 | 21
|  | Selenium | 100 | 100 | 100 | 5
|  | Silver | NA | NA | NA | NA
|  | Zinc | 7500 | 2800 | 2800 | 140

## Limits
Allocation of Maximum Allowable Headworks Loadings
Local Limit (mg/L)
| Allowable | Safety | Actual | Allowable | Using Total | Using Industrial
Pollutant | Total | Factor | Uncontrollable | Industrial | Industrial | Contributory
| (Lbs/Day) | (Lbs/Day) | (Lbs/Day) | (Lbs/Day) | Flow | Flow
Arsenic | 0 | 0 | 0 | 0
Cadmium | 0 | 0 | 0 | 0
Chromium | 0 | 0 | 0 | 0
Copper | 0 | 0 | 0 | 0
Cyanide | 0 | 0 | 0 | 0
Lead | 0 | 0 | 0 | 0
Mercury | 0 | 0 | 0 | 0
Molybdenum | 0 | 0 | 0 | 0
Nickel | 0 | 0 | 0 | 0
Selenium | 0 | 0 | 0 | 0
Silver | 0 | 0 | 0 | 0
Zinc | 0 | 0 | 0 | 0

## WQ Criteria
Note: If the user desires to develop Allowable Headworks Loadings based on prevention of pass-through for a pollutant that is not included in this table, the necessary calculations cannot be performed by this workbook unless the POTW has an NPDES permit limit for the pollutant. If there is no NPDES permit limit, but the user wishes to develop an allowable loading based on preventing pass-through, contact DEQ for guidance.
Water Quality Standards
|  | Pollutant | Acute | Chronic
|  |  | μg/L | μg/L
|  | Arsenic | 360 | 190
|  | Cadmium1 | 3.9 | 1.1
|  | Chromium1 | 1700 | 210
|  | Copper1 | 18 | 12
|  | Cyanide | 22 | 5.2
|  | Lead1 | 82 | 3.2
|  | Mercury | 2.4 | 0.012
|  | Molybdenum2 | NA | NA
|  | Nickel1 | 1400 | 160
|  | Selenium3 | 260 | 35
|  | Silver1 | 4.1 | 0.12
|  | Zinc1 | 120 | 110
1 | Water Quality Criteria are hardness dependent. Make sure that the receiving stream hardness is entered into the Pass-through worksheet.
2 | No Water Quality Criteria developed for this pollutant.
3 | Water Quality Criteria have been developed, but are not included in the hidden WQS worksheet. If the user desires to develop Allowable Headworks Loadings based on prevention of pass-through for this pollutant, this workbook cannot perform the appropriate calculations unless the POTW has an NPDES permit limit for this pollutant. If there is no NPDES permit limit for this pollutant, but the user wishes to develop an allowable loading based on preventing pass-through, contact DEQ for guidance.