## Sheet1
Section | Measure | Phase | For 2001 Monitor (see) (notes) | Measurement Description (Phase 1 as revised 9/15/2000 - - - Phase 2 as AC approved 7/14/98) (Phase 2.5 as Board approved 6/23/2000 - - - Phase 3 as PC approved 11/14/2000)
I.A | M1 | 1 | YES | System performance under normal conditions with reporting requirements
" | M2 | 1 | YES | System performance under single contingency with reporting requirements
" | M3 | 2 | NO | System performance under multiple contingencies
" | M4 | 2 | NO | System performance under extreme contingencies
" | M5 | 1 | NO | Being eliminated
I.B | M1 | 1 | YES | SELF-ASSESSMENT of regional & interregional reliability
" | M2 | 1 | YES | Regional DATA needed to assess reliability
" | M3 | 1 | NO | Being eliminated
" | M4 | 1 | NO | Being eliminated
I.C | M1 | 1 | YES | Facilities connection REQUIREMENTS
" | M2 | 2 | NO | COORDINATE plans for new facilities
I.E.1 | M1 | 2.5 | NO | Regional TTC/ATC METHODOLOGY
" | M2 | 2.5 | NO | CONFORMANCE to regional TTC/ATC methodology / AVAILABILITY of values
" | M3 | 2.5 | NO | Regional PROCEDURE to assure comply to regional TTC/ATC method
" | M4 | 2.5 | NO | Regional PROCEDURE to collect & consider concerns
I.E.2 | M1 | 2.5 | NO | Regional CBM METHODOLOGY
" | M2 | 2.5 | NO | CONFORMANCE to regional CBM methodology
" | M3 | 2.5 | NO | Regional PROCEDURE / REVIEW to assure compliance to regional CBM methodology
" | M4 | 2.5 | NO | DOCUMENT transmission provider procedures for use of CBM
" | M5 | 2.5 | NO | REPORT use of CBM
" | M6 | 2.5 | NO | Regional TRM METHODOLOGY
" | M7 | 2.5 | NO | CONFORMANCE to regional TRM methodology
" | M8 | 2.5 | NO | Regional PROCEDURE / REVIEW to assure compliance to regional TRM methodology
I.F | M1 | 1 | NO | DOCUMENT / define equipment REQUIREMENTS
" | M2 | 3 | YES | LIST of monitoring equipment installations & operating status
" | M3 | 3 | YES | Disturbance monitoring data reporting REQUIREMENTS
" | M4 | 3 | YES | Recorded fault and disturbance DATA
II.A | M1 | 1 | YES | Steady state modeling DATA
" | M2 | 1 | NO | Reporting REQUIREMENTS / PROCEDURES for steady state modeling
" | M3 | 1 | YES | Dynamics modeling DATA
" | M4 | 1 | NO | Reporting REQUIREMENTS / PROCEDURES for dynamics modeling
" | M5 | 3 | YES | DEVELOP steady state models
" | M6 | 3 | YES | DEVELOP dynamics models
II.C | M1 | 1 | YES | METHODOLOGY for determining facilities electrical ratings
" | M2 | 1 | YES | Facility electrical rating DATA for modeling
II.D | M1 | 1 | NO | Demand, energy & DSM scope & specificity reporting REQUIREMENTS
" | M4 | 1 | YES | Aggregated actual & forecast demand & energy DATA
" | M6 | 2 | NO | Nonmember demand DATA
" | M7 | 2 | NO | DOCUMENT how uncertainty for forecasts are addressed
" | M8 | 2 | NO | Data CONSISTENCY
" | M10 | 1 | YES | Report interruptible demands & direct load control DATA
" | M11 | 2 | NO | INFORM operations of interruptible demands & direct load control
" | M12 | 2 | NO | DOCUMENT / methodology of effects of controllable DSM
Section | Measure | Phase | For 2001 Monitor (see) (notes) | Measurement Description (Phase 1 as revised 9/15/2000 - - - Phase 2 as AC approved 7/14/98) (Phase 2.5 as Board approved 6/23/2000 - - - Phase 3 as PC approved 11/14/2000)
III.A | M1 | 2 | NO | Transmission protection system COMPLIANCE with Std. I.A., Table I
" | M3 | 2 | NO | Regional PROCESS to monitor/notify/analyze trip operations - document misoperations
" | M4 | 2 | NO | Document/implement transmission protection system maintenance/testing PROGRAM
III.C | M1 | 3 | YES | PROCEDURE by Sys Operator for reporting operation without automatic voltage control
" | M2 | 3 | YES | LOG of operation without automatic voltage control mode by gen owner
" | M3 | 3 | YES | DOCUMENTATION of schedule for maintaining network voltage
" | M4 | 3 | YES | LOG operation not maintaining network voltage schedules
" | M5 | 3 | YES | Reporting PROCEDURES for tap settings of generator step-up & auxiliary transformers
" | M6 | 3 | YES | Tap settings DATA of generator step-up & auxiliary transformers
" | M7 | 3 | YES | REQUIREMENTS for withstanding temporary excursions in frequency, voltage, etc
" | M8 | 3 | YES | INFO on gen. controls coordination with unit’s short-term capabilities & protective relays
" | M9 | 3 | YES | INFORMATION on speed/load governing system
" | M10 | 3 | YES | PROCEDURE to monitor/ analyze/ correct trip operations of gen. protection equipment
" | M11 | 3 | YES | DOCUMENTATION of all operations of generator protection equipment
" | M12 | 3 | YES | Maintenance / testing PROGRAM of generation equipment protection systems
III.D | M1 | 2 | NO | Develop / document Regional UFLS PROGRAM
" | M2 | 2 | NO | CONSISTENCY of entities with Regional UFLS program
" | M3 | 2 | NO | UFLS program DATABASE for dynamic modeling
" | M4 | 2 | YES | ASSESSMENT of Regional UFLS program effectiveness
" | M5 | 2 | NO | Document/implement UFLS maintenance/testing PROGRAM
" | M6 | 2 | YES | Analysis & documentation of UFLS EVENT
III.E | M1 | 3 | YES | DOCUMENTATION of undervoltage load shedding program
" | M2 | 3 | YES | UVLS Regional DATABASE
" | M3 | 3 | YES | ASSESS design and effectiveness of UVLS programs
" | M4 | 3 | YES | Document/implement UVLS maintenance/testing PROGRAM
" | M5 | 3 | YES | Analysis & documentation of UVLS EVENT
III.F | M1 | 2 | NO | Document / implement Regional SPS review PROCESS
" | M2 | 2 | NO | Review, document & assessment of SPS COMPLIANCE to Stds and effect of failure
" | M3 | 2 | NO | COMPLIANCE review & document new/proposed SPS installations
" | M4 | 2 | NO | COORDINATE operation of SPS with other protection systems
" | M5 | 2 | NO | Regional PROCESS to monitor/notify/analyze operations - DOCUMENT misoperations
" | M6 | 2 | NO | Document/implement SPS maintenance/testing PROGRAM
IV.A | M1 | 3 | YES | Regional blackstart capability PLAN
" | M2 | 3 | YES | DEMONSTRATE by simulation / testing blackstart unit can perform its function.
" | M3 | 3 | YES | DIAGRAM blackstart units & initial switching
" | M4 | 3 | YES | DOCUMENT blackstart unit test results
IV.B | M1 | 3 | YES | DOCUMENT automatic load restoration (ALR) programs including database
" | M2 | 3 | YES | DOCUMENT auto load restoration program with Regional requirements
" | M3 | 3 | YES | ASSESS effectiveness of automatic load restoration programs
" | M4 | 3 | YES | DOCUMENT auto load restoration equipment testing / maintenance program
NOTES :
1) "YES" means that some sort of monitoring will be done for all involved entities
2) "NO" generally means that monitoring is NOT required, however, any entity found "non-compliant" by end of 2000 MUST be monitored in 2001.
3) All measures are subject to audit or spot check at any time.