## MAPP, Phase II Planning
MAPP Compliance to NERC, Phase II
Standard | Description | Frequency | MAPP Compliance | Committee
IA.S3.M3 | System performance following loss of two or more bulk system components | Annual | ORS seasonal assessment, RSS 10-year assessment | ORS, RSS
IA.S4.M4 | System performance following extreme events resulting in the loss of two or more bulk system components | Annual | ORS seasonal assessment, RSS 10-year assessment | ORS, RSS
IIIA.S3.M3 | Transmission protection system operation monitoring and analysis | On Request--5 Days | Relay Survey, TPS Misoperations | ORS
IIID.S1-S2.M1 | Development and documentation of Regional Underfrequency Load Shedding (UFLS) programs coordinated within and among Regions. | On Request--5 Days | MAPP program document sent to NERC (IDWG) on 5/1/00 | ORS, Members
IIID.S1.M3 | Data for modeling Regional UFLS program in dynamic simulations | Annual | MBWG is collecting data for UFLS | ORS, RSS
IIID.S1.M4 | Periodic assessment of the design and effectiveness of the Regional UFLS program | Every 5 Years, or As Required by system changes | NORWG is writing study scope | ORS, RSS
IIIF.S1-S2.M1 | Establish and document Regional review process for special protection system (SPS) installations. | On Request--5 Days | On temporary hold by IDWG | DRS, ORS
IIIF.S1-S2.M2 | Review and document compliance of SPS with Regional criteria and NERC Standards. | On Request--30 Days | New Data Request, Due from membership on July 21 | ORS
IIIF.S4.M5 | Develop a process for monitoring, notification, and analysis of all SPS operations. | On Request--5 Days | Relay Survey, SPS Misoperations | ORS

## Members, Phase II Planning
Members compliance to MAPP, Phase II
Standard | Description | Frequency | MAPP Compliance | Notes | Committee
IC.S2.M2 | Coordination of plans for new generation, transmission, and end-user facilities | On Request--30 Days | Self Certification | By keeping documentation and studies (for 5 years) following a DRS/ORS approval | DRS
IID.S1.M6 | Indication as to whether nonmember demand data is included in reported actual and forecast demand data | Annual or As Requested | Self Certification | Applicable to entities required to report actual and forecast demand data. | ASC, RSS
IID.S1.M7 | How uncertainties are addressed in the forecast of customer demand and net energy for load | On Request--5 Days | Self Certification | Applicable to entities required to report actual and forecast demand data. | ASC
IID.S1.M8 | Consistency in data provided for system modeling and reliability analysis | Annual or As Specified | Self Certification | Applicable to entities required to report actual and forecast demand data. | RSS
IID.S2.M11 | Interruptible demands and direct control load management data to be made known to system operators and security center coordinators | On Request--30 Days | Email from WVO - 070500 | Applicable to entities responsible for the reliability of the interconnected transmission systems. | OPS
IID.S2.M12 | Documentation of the method of accounting for the effects of controllable demand-side management in demand and energy forecasts | On Request--5 Days | Self Certification | Applicable to entities required to report actual and forecast demand data. | ASC, RSS
IIIA.S1.M1 | Transmission protection systems compliance with Table I | On Request--30 Days | Self Certification | Applicable to transmission or protection system owners | ORS
IIIA.S4.M4 | Transmission protection system maintenance and testing | On Request--30 Days | Self Certification | Applicable to transmission or protection system owners | ORS
IIID.S1-S2.M2 | Assuring consistency of entity UFLS programs with Regional UFLS requirements | On Request--30 Days | Self Certification | Applicable to entities owning or operating UFLS programs | ORS
IIID.S1.M5 | Implementation and documentation of UFLS equipment maintenance program | On Request--30 Days | Self Certification | Applicable to entities owning or operating UFLS programs | ORS
IIID.S1.M6 | Analysis and documentation of UFLS program performance | On Request--30 Days | Requires members to send in disturbance reports | Applicable to entities owning or operating UFLS programs | ORS
IIIF.S1-S2.M3 | Review and document proposed new or modified SPSs | On Request--30 Days | Self Certification | Applicable to SPS owners | DRS, ORS
IIIF.S3.M4 | Coordinate design and operation of SPSs with other protection and control systems | On Request--30 Days | Self Certification | Applicable to SPS owners | ORS
IIIF.S4.M5 | Develop a process for monitoring, notification, and analysis of all SPS operations. | SPS On Request--30 Days | Relay Survey, SPS Misoperations |  | ORS
IIIF.S1-S2.M6 | Document SPS maintenance and testing procedures | On Request--30 Days | Self Certification | Applicable to SPS owners | ORS

## MAPP, Phase I Planning
MAPP Compliance to NERC, Phase I
Standard | Description | Frequency | MAPP Compliance | Notes | Committee
IA.S2.M2 | System performance following loss of a single bulk system component | Annual | RSS 10-year assessment | Applicable to entities responsible for the reliability of interconnected transmission systems | ORS, RSS
IB.S2.M3 | Regional and interregional self-assessment reliability reports | Annual | ORS seasonal assessment, RSS 10-year assessment | (As IB.S1.M1 in MAPP Compliance Doc Book) | ORS, RSS
IB.S2.M4 | Data from the Regions needed to assess reliability | Annual | Projected Load and Capability | (As IB.S1.M2 in MAPP Compliance Doc Book) | RSS
IF.S1.M1 | Define and document disturbance monitoring equipment requirements | On Request--5 Days | ORS, Talk to Wayne B., Shel Berg | Applicable to regions | ORS
IIA.S1.M2 | Steady-state data for modeling and simulation of the interconnected transmission systems | As Specified | Power Flow Case Development Procedure Manual, MBWG | MBWG is responsible for updating and maintaining procedures every 5 years | RSS
IIA.S1.M3 | Maintenance and distribution of the procedural manuals for steady-state data requirements | On Request--5 Days | Dynamics | Applicable to Multiregional Modeling Working Group (Eastern Interconnection), WSCC, ERCOT, and Hydro-Quebec
IIA.S1.M4 | Dynamics data for modeling and simulation of the interconnected transmission systems. | As Specified | Dynamics | Applicable to users of the interconnected transmission systems
IIA.S1.M5 | Maintenance and distribution of the procedural manuals for dynamics data requirements | On Request--5 Days | Power Flows, MBWG | Applicable to System Dynamics Database Working Group (Eastern Interconnection), WSCC, ERCOT, and Hydro-Quebec
IID.S1-S2.M1 | Documentation of data reporting requirements for actual and forecast demands, net energy for load, and controllable demand-side management. | On Request--5 Days | Projected Load and Capability | Applicable to entities responsible for the reliability of interconnected transmission systems in conjunction with the Regions | ASC, RSS

## Members, Phase I Planning
Members compliance to MAPP, Phase I
Standard | Description | Frequency | MAPP Compliance | Notes | Committee
IA.S1.M1 | System performance under normal (no contingency) conditions | Annual | Power Flows, Individual Data Submittals by RSS | Applicable to entities responsible for reliability of interconnected transmission systems | ORS, RSS
IA.S1-S4.M5 | Reporting requirements for prior Measurements M1, M2, M3, and M4 | Annual | Annual documentation of how systems are in compliance | must be done annually, but available upon request of NERC | ORS, RSS
IC.S1.M1 | Facility connection requirements | On Request--5 Days | Self Certification | Applicable to entities responsible for reliability of interconnected transmission systems | DRS
IIC.S1.M1 | Methodology for determining electrical facility ratings | On Request--5 Days | Self Certification | Applicable to Facility Owners | RSS
IIC.S1.M2 | Electrical facility ratings for system modeling | On Request--5 Days | MAPP Transmission Capacity Data Listing | Applicable to Transmission Facility Owners | RSS (MBWG)
IID.S1-S2.M1 | Documentation of data reporting requirements for actual and forecast demands, net energy for load, and controllable demand-side management. | On Request--5 Days | Projected Load and Capability | Applicable to entities responsible for the reliability of interconnected transmission systems in conjunction with the Regions | ASC, RSS
IID.S1.M4 | Aggregated actual and forecast customer demands and net energy for load | Annual or As Specified | Hourly Load, EIA-411 | Hourly Load only covers part (a), EIA-411 covers (b)-(d) | ASC
IID.S2.M10 | Reporting of interruptible demands and direct control load management. | Annual or As Specified | Projected Load and Capability | Applicable to entities required to report actual and forecast demand data | ASC

## Operating Policies
Members compliance to MAPP, Operating Policies
Standard | Description | Frequency | MAPP Compliance | Notes | Committee
Operating Standard 1 | The Control Performance Standard (CPS) defines a standard of minimum control performance for a CONTROL AREA | Monthly (20 days after month end) | Control Performance Standard 1 & 2
Operating Standard 2 | The Disturbance Control Standard (DCS) is a measure of a CONTROL AREA's ability to supply its OPERATING RESERVES. DCS is measured as the percent recovery from a disturbance | Quarterly (20 days after quarter end) | Disturbance Control Standard 1 & 2
Operating Standard 3 | Emergency Operations: A set of plans consistent with NERC Operating Policies shall be developed, maintained, and implemented as required by each system, control area, pool, and Region to cope with operating emergencies. These plans shall be coordinated with other systems, control areas, pools, and Regions as appropriate. Ability to execute procedures. Plans developed and maintained to cope with operating emergencies shall include procedures that can be executed by system operators. | Annual (Self Assessment), 3 Years (audit)
Operating Standard 4 | Each system, control area, and Region shall provide adequate and reliable telecommunications facilities internally and with other systems, control areas, and Regions to assure the exchange of Interconnection information necessary to maintain reliability. When possible, these facilities shall be redundant and diversely routed. | Annual (Self Assessment), 3 Years (audit)
Operating Standard 5 | Coordination With Other Systems: When an operating emergency occurs, a prime consideration shall be to maintain parallel operation throughout the Interconnection. This will permit rendering maximum assistance to the system(s) in trouble. Each system and control area shall promptly take appropriate action to relieve any abnormal conditions, which jeopardize reliable Interconnection operation. A system, control area, or pool which is experiencing or anticipating an operating emergency shall communicate its current and future status to neighboring systems, control areas, or pools and throughout the interconnection. Systems able to provide emergency assistance shall make known their capabilities. | 10 Days (after trigger event) | Self Certification
Operating Standard 6 | Emergency Operations: A set of plans consistent with NERC Operating Policies shall be developed, maintained, and implemented as required by each system, control area, pool, and Region to cope with operating emergencies. These plans shall be coordinated with other systems, control areas, pools, and Regions as appropriate. (C.V.B.) Ability to execute procedures. Plans developed and maintained to cope with operating emergencies shall include procedures that can be executed by system operators. | 10 Days (after trigger event) | Self Certification
Policy 2, Template 1 | Operating Security Procedures | 3 Years | Self Certification |  | OPS, ORS
Policy 2, Template 2 | Operating Security Limit Violations | Exceptions, Monthly | Exception and Monthly Reporting |  | OPS
Policy 3, Template 1 | Facilities and Procedures for Assessing Transactions | Exceptions, 3 Years | Self Certification, Exception Reporting, 3 Year Review |  | OPS
Policy 3, Template 2 | Transaction Assessment and schedule implementation | Monthly, 3 Years (spot review) | Monthly Reporting and Spot Checking |  | OPS
Policy 3, Template 3 | Electronic Tagging | Exceptions (monthly), Yearly (spot review), 3 Years | Self Certification |  | OPS
Policy 3, Template 4 | Curtailment | Monthly (spot review), 3 Years | Self Certification |  | OPS
Policy 4, Template 1 | Transmission System Monitoring | 3 Years | Self Certification |  | OPS
Policy 4, Template 2 | Operational Security Information | 3 Years | Self Certification |  | OPS
Policy 4, Template 3 | Operational Security Information (ISN) | Real Time | Real Time Data Supplied to NERC | Not in the Compliance Documentation Book, Covered by the ISN Data Submittal | RCS
Policy 4, Template 4 | Power System Data Exchange / Generator and Transmission Outages | 3 Years | Self Certification |  | OPS
Policy 8, Template 1 | Responsibility and Authority | 3 Years | Self Certification
Policy 8, Template 2 | Operating Authorities shall staff required operating positions with NERC-Certified System Operators. | Exception, 3 Years | Self Certification |  | OPS
Policy 9, Template 1 | Next day Operations Planning | Exceptions (monthly), 3 Years | Self Certification |  | OPS
Policy 9, Template 2 | Implementing Transmission System Relief | Monthly, Yearly (spot review), 3 Years | Self Certification |  | ORS
Policy 9, Template 3 | Current Day Operations-Authority to Implement Emergency Procedures | 3 Years | Self Certification |  | OPS, ORS
Policy 9, Template 4 | Energy Emergency Alerts | Investigation (anytime), 3 Years (spot review) | SCO function, no data submittal required |  | OPS